## Sheet1
Serial# | User | Type | Issue? | PCB version |  | Confirmed | # transceiver | test Comment
1 | Nick | TI_Sdtest |  | V4_R1
2 | GU |  | Se PROM | V4_R1
11 | Bryan | Timaster |  | V4_R2
12 | Hall A | Timaster | no P0 | V4_R2 | July25, 2012 from Peppo to HallC | YES
13 | Cody, FADC125 test | Timaster |  | V4_R2 |  | YES
14 | GU | Timaster |  | V4_R2 |  | YES | 1 | there may be cold solder, esp. clock control part, Mar. 26, 2013
15 | HallA/Canada | Timaster |  | V4_R2 | returned from Alex, Feb. 8, 2013 |  | 1
16 | GU | TI |  | V4_R2 | Bryan found it, Oct. 1, 2013 |  | 3
17 | Alex | Timaster |  | V4_R2
18 | GU | TI |  | V4_R2 |  | YES | 1 | UP1_NL flux conduction, PCB burned, UP1_NL removed, Oct. 1, 2013
19 | DAQ Lab | Timaster |  | V4_R2 |  | YES
20 | SLAC | Timaster | no P0 | V4_R2 |  | YES |  | Returned to GU, Mar. 2, 2016
TID#51 | HallD |  |  | prod |  |  | 6 | Feb. 17, swap with HallD #262. Apr. 9, 2014: +12V filter cap burned, short the +12V to gnd, and blew the fuse | July 28, 2014: -12V filter cap burned, short, and the -12V fuse blown. Fixed
TID#52 | HallD, Alex |  |  | prod |  |  | 2
TID#53 | DAQ lab |  |  | prod |  |  | 2
TID#54 | HallD |  |  | prod |  |  | 2 | "-5 short to ground, Replaced UIO4, fixed"
TID#55 | HallD |  |  | prod |  |  | 6 | Feb. 17, swap with HallD #275
TID#56 | HallA |  |  | prod |  |  | 2 | 3/11/15, +12V filter cap burned, fuse blown. Fixed. 4/22/2016: TRG input not working? tested OK.
TID#57 | HallB Sergey |  |  | prod |  |  | 2
TID#58 | SVT-->HallD |  |  | prod |  |  | 3, HFBR#1, 3, 5 | Apr. 17,2014: Swapped with HallD TI#236. | The +3.3V regulators are bad, needs removal. Aug. 1, 2018. Fixed by replacing both UP1 and UP1_NL, Jan. 29, 2020.
TID#59 | HallB Sergey |  |  | prod |  |  | 2
TID#60 | HallC |  |  | prod |  |  | 2, HFBR#1, #5
TI#64 | HallC |  |  | prod |  |  |  | Modified from TD#64, Nov. 21, 2016, Problem connecting (as Timaster) to Tiqsfp with Finisar FTL410 transceivers. Traded with TI#404.
TI#65 | HallC |  |  | prod |  |  |  | Modified from TD#65, Nov. 15, 2016
TI#201 | HallB |  | no P0 | prod
TI#202 | HallB |  | no P0 | prod
TI#203 | HallB |  | no P0 | prod
TI#204 | HallB |  | no P0 | prod
TI#205 | HallB |  | no P0 | prod
TI#206 | HallB |  | no P0 | prod |  |  |  | Mar. 6, 2014: updated firmware to V18.1. It should (will) not talk to SD.
TI#207 | HallB |  | no P0 | prod
TI#208 | HallB |  | no P0 | prod
TI#209 | HallB |  | no P0 | prod
TI#210 | HallB |  | no P0 | prod
TI#211 | SVT |  |  | prod
TI#212 | SVT |  |  | prod
TI#213 | HallA |  |  | prod |  |  |  | failed at receiving external clock, replace RC44, fixed
TI#214 | SVT |  |  | prod
TI#215 | HallC |  |  | prod
TI#216 | HallC |  |  | prod |  |  |  | Failed at the 12V filter capacitor, fixed Nov. 23, 2016
TI#217 | HallC |  |  | prod
TI#218 | HallC |  |  | prod
TI#219 | HallC |  |  | prod
TI#220 | HallC |  |  | prod
TI#221 | GU |  |  | prod |  |  |  | 3.3V measured to be +2V and large noise. Fixed after solder reflow, Feb.1, 2013
TI#222 | HallD |  |  | prod
TI#223 | HallD |  |  | prod
TI#224 | HallD |  |  | prod
TI#225 | HallD | D TIM#1 |  | prod | Timaster, five sockets
TI#226 | HallD |  |  | prod
TI#227 | HallD |  |  | prod
TI#228 | HallD |  |  | prod |  |  |  | 3.3V measured to be +2V and large noise. Fixed after solder reflow, Feb.1, 2013
TI#229 | HallD |  |  | prod
TI#230 | HallD |  |  | prod
TI#231 | HallD |  |  | prod
TI#232 | HallD |  |  | prod
TI#233 | HallD |  |  | prod
TI#234 | HallA Compton |  |  | prod |  |  |  | 3.3V measured to be +2V and large noise. Fixed after solder reflow, Feb.1, 2013 | Feb. 19,2014 from EEL | Gave to Hall A Compton - 17oct2019
TI#235 | HallD |  |  | prod
TI#236 | HallD-->SVT | D TIM#2 |  | prod | Timaster, five sockets |  |  | Apr. 17,2014. Swapped with SVT TI#58
TI#237 | HallD |  |  | prod
TI#238 | HallD |  |  | prod
TI#239 | HallD |  |  | prod
TI#240 | HallD |  |  | prod
TI#241 | HallD |  |  | prod
TI#242 | HallD |  |  | prod
TI#243 | HallD |  |  | prod
TI#244 | HallD |  |  | prod
TI#245 | HallD |  |  | prod
TI#246 | HallD |  |  | prod
TI#247 | HallD |  |  | prod
TI#248 | HallD |  |  | prod
TI#249 | HallD |  |  | prod
TI#250 | HallD |  |  | prod
TI#251 | HallD | D TIM#5 |  | prod | Timaster, two sockets
TI#252 | HallD | D TIM#6 |  | prod | Timaster, two sockets
TI#253 | HallD |  |  | prod
TI#254 | HallD |  |  | prod
TI#255 | HallD | D TIM#7 |  | prod | Timaster, two sockets
TI#256 | HallD |  |  | prod
TI#257 | HallD |  |  | prod
TI#258 | HallD/F1TDC test |  |  | prod |  |  |  | Stuck at VME command. Fixed after FPGA solder reflow, Feb.1, 2013
TI#259 | HallD | D TIM#8 |  | prod | Timaster, two sockets
TI#260 | HallD |  |  | prod
TI#261 | HallD |  |  | prod
TI#262 | HallB | D TIM#3-->B TIM#1 |  | prod | Timaster, five sockets |  |  | Feb. 17, 2014, swapped with TI#51, Mar. 6, 2014: swapped with TI#296 to HallB
TI#263 | HallD |  |  | prod
TI#264 | HallD |  |  | prod
TI#265 | HallD |  |  | prod
TI#266 | HallA SBS |  |  | prod |  |  |  | Stuck at VME command once. Fixed after FPGA solder reflow, Feb.1, 2013 | loan to UVA, Cameron, June 7, 2018 | Gave to UVA Gem DAQ - 17oct2019
TI#267 | HallD |  |  | prod
TI#268 | HallD |  |  | prod
TI#269 | HallD |  |  | prod
TI#270 | HallD |  |  | prod
TI#271 | HallD |  |  | prod
TI#272 | HallD |  |  | prod
TI#273 | HallD |  |  | prod
TI#274 | HallD |  |  | prod
TI#275 | Hai | D TIM#4 |  | prod | Timaster, five sockets |  |  | Feb. 17, 2014, swapped with TI#55
TI#276 | HallD |  |  | prod
TI#277 | HallD |  |  | prod
TI#278 | HallD |  |  | prod
TI#279 | HallD |  |  | prod |  |  |  |  | July 28, 2014: -12V fuse blown. Removed both +12V and -12V filter cap. Fixed
TI#280 | HallB |  |  | prod
TI#281 | HallB |  |  | prod
TI#282 | HallB |  |  | prod
TI#283 | HallB |  |  | prod
TI#284 | HallB |  |  | prod
TI#285 | HallB |  |  | prod
TI#286 | HallB |  |  | prod
TI#287 | HallB |  |  | prod
TI#288 | HallB |  |  | prod
TI#289 | HallB |  |  | prod
TI#290 | HallB |  |  | prod
TI#291 | HallB |  |  | prod
TI#292 | HallB |  |  | prod
TI#293 | HallB |  |  | prod
TI#294 | HallB |  |  | prod
TI#295 | HallB |  |  | prod
TI#296 | DAQLAB | B TIM#01 |  | prod | Timaster, five sockets |  |  | Mar. 6, 2014: HFBR#2 has soldering issues. Replaced with TI#262 for HallB
TI#297 | HallB |  |  | prod
TI#298 | HallB |  |  | prod
TI#299 | HallB |  |  | prod
TI#300 | HallB | B TIM#02 |  | prod | Timaster, five sockets
TI#301 | HallB |  |  | prod
TI#302 | HallB |  |  | prod
TI#303 | HallB |  |  | prod
TI#304 | HallB |  |  | prod
TI#305 | HallB | B TIM#03 |  | prod | Timaster, five sockets
TI#306 | HallB |  |  | prod
TI#307 | HallB | B TIM#04 |  | prod | Timaster, five sockets
TI#308 | HallB |  |  | prod
TI#309 | HallB | B TIM#05 |  | prod | Timaster, five sockets |  |  | cap CCF41/CCF42 was pushed sideways, and short the TRG going to HFBR#4. fixed, Mar. 23, 2015
TI#310 | HallB |  |  | prod
TI#311 | HallB | B TIM#06 |  | prod | Timaster, five sockets |  |  | removed the P0 and alignment pin, Sept. 5, 2018
TI#312 | HallB |  |  | prod
TI#313 | HallB |  |  | prod
TI#314 | HallB | B TIM#07 |  | prod | Timaster, five sockets
TI#315 | HallB |  |  | prod
TI#316 | HallB |  |  | prod
TI#317 | HallB |  |  | prod
TI#318 | HallB |  |  | prod
TI#319 | HallB |  |  | prod
TI#320 | HallB |  |  | prod
TI#321 | HallB |  |  | prod |  |  |  | VME failed, usercode 0xf1011042. Fixed after FPGA solder reflow, Feb.1, 2013 | UIO1 input#3 is 'burned'. Input pin to GND is ~15 Ohm. Replaced. Jan. 16, 2014. The exact same thing happened on Jan. 8, 2020.
TI#322 | HallB |  |  | prod
TI#323 | HallB |  |  | prod
TI#324 | HallB |  |  | prod
TI#325 | HallB |  |  | prod
TI#326 | HallB |  |  | prod
TI#327 | HallB |  |  | prod
TI#328 | HallB |  |  | prod
TI#329 | HallB |  |  | prod
TI#330 | HallB | B TIM#08 |  | prod | Timaster, five sockets
TI#331 | HallB |  |  | prod |  |  |  | LTM4604 for V33 output sine, 2.37V-3.14V, period 2.7us. Bypass it using V33vme, Nov 9, 2021
TI#332 | HallB |  |  | prod
TI#333 | HallB |  |  | prod
TI#334 | HallB |  |  | prod |  |  |  | There is clock disruptions during test. Fixed after FPGA solder reflow, Feb.1, 2013
TI#335 | HallB |  |  | prod
TI#336 | HallB | B TIM#09 |  | prod | Timaster, five sockets
TI#337 | HallB |  |  | prod
TI#338 | HallB |  |  | prod
TI#339 | EEL |  |  | prod |  |  |  | VME problem, usercode 0xffffffff. Fixed after FPGA solder reflow, Feb.1, 2013 | Feb. 19,2014 FCAT setup
TI#340 | HallB |  |  | prod
TI#341 | HallB | B TIM#10 |  | prod | Timaster, five sockets
TI#351 | HallA |  |  | Mprod
TI#352 | HallA/C |  |  | Mprod |  |  |  | Transferred to HallA/C for polarimeter experiment, Mar. 21, 2019
TI#353 | HallA |  |  | Mprod
TI#354 | HallA |  |  | Mprod
TI#355 | HallA |  |  | Mprod
TI#356 | HallA |  |  | Mprod
TI#357 | HallA |  |  | Mprod
TI#358 | HallA |  |  | Mprod |  |  |  | VME not working: Alignment pin screw is missing, LP4 shows physical damage. Replaced on 9/25/2017.
TI#359 | DAQ |  |  | Mprod | no VXS P0/alignment pin |  |  | Swapped with DAQ #160, Oct. 21, 2019
TI#360 | HallA |  |  | Mprod | no VXS P0/alignment pin |  |  | Removed the optic transceivers, to loan to ViginaTech, Oct. 2023
TI#361 | HallA |  |  | Mprod
TI#362 | HallD |  |  | Mprod | two transceivers
TI#363 | HallD |  |  | Mprod | two transceivers
TI#364 | FE |  |  | Mprod
TI#365 | FE |  |  | Mprod
TI#366 | FE |  |  | Mprod |  |  |  | Osc was replaced with CCPD34, a 50% duty cycle osc. Aug. 2023
TI#367 | FE, CC/F280 |  |  | Mprod
TI#368 | DAQ |  |  | Mprod
TI#369 | DAQ |  |  | Mprod
TI#370 | DAQ |  |  | Mprod
TI#371 | DAQ |  |  | Mprod
TI#372 | HallB |  |  | Mprod | eight transceivers (1)
TI#373 | Bob Michaels |  |  | Mprod |  | lend to Bob on June 22, 2015, | Back to DAQ, found nothing wrong, Nov.. 15, 2016
TI#374 | HallB |  |  | Mprod | eight transceivers (1)
TI#375 | HallB |  |  | Mprod | eight transceivers (1)
TI#376 | HallB |  |  | Mprod | eight transceivers (1)
TI#377 | HallB |  |  | Mprod | eight transceivers (1)
TI#378 | HallB |  |  | Mprod | eight transceivers (3)
TI#152 | HallA |  |  | QSFPprod |  |  | 1
TI#153 | HallA |  |  | QSFPprod |  |  | 1
TI#154 | HallA |  |  | QSFPprod |  |  | 1
TI#155 | HallA |  |  | QSFPprod |  |  | 1
TI#156 | HallA |  |  | QSFPprod |  |  | 1
TI#157 | HallA |  |  | QSFPprod |  |  | 1
TI#158 | HallA |  |  | QSFPprod |  |  | 1
TI#159 | DAQ |  |  | QSFPprod | Trade for one TS from DAQ |  | 1 | Returned from DESY beam test, Apr. 20s, 2023
TI#160 | HallA |  |  | QSFPprod | Trade for TI# with HallA#359 |  | 1
TI#161 | DAQ |  |  | QSFPprod |  |  | 1 | Give to Bryan for HallA replacement test, Nov. 4, 2016, returned same day
TI#162 | HallA |  |  | QSFPprod |  |  | 1
TI#163 | HallA |  |  | QSFPprod |  |  | 1 | Populated another three QSFP shells and four FS.com transceivers. Feb. 8, 2021
TI#164 | HallA |  |  | QSFPprod |  |  | 1
TI#165 | HallA |  |  | QSFPprod |  |  | 1
TI#166 | HallA |  |  | QSFPprod |  |  | 1
TI#167 | HallA |  |  | QSFPprod |  |  | 1
TI#168 | HallA |  |  | QSFPprod |  |  | 1
TI#169 | HallA |  |  | QSFPprod |  |  | 1
TI#170 | HallC |  |  | QSFPprod |  |  | 1 |  | Can not talk to VTP. Jan 17, 2025. Debug: the Port1 trigger output_N (pin#4 of MC100LVEP14) is dead (at 2.8V dc). Replaced. This is just a find with full TI test. The reported problem is actually a mistake by not connecting the TI to the TS/TD. Jan. 28, 2025. Returned to HallA.
TI#171 | HallC |  |  | QSFPprod |  |  | 1
TIM#173 | HallB |  |  | QSFPprod |  |  | 2 |  | UP1 (+3.3V regulator) is bad, the output is 2.6V-3.3V sin wave. Dec. 5, 2019. Fixed by replacing UP1, Jan. 29, 2020
TIM#174 | HallB |  |  | QSFPprod |  |  | 2
TIM#175 | HallB |  |  | QSFPprod |  |  | 2
TIM#176 | HallB |  |  | QSFPprod |  |  | 2
TIM#177 | HallB |  |  | QSFPprod |  |  | 2
TIM#178 | HallB |  |  | QSFPprod |  |  | 2 |  | UP1 (+3.3V regulator) is bad, the output is 2.6V-3.3V sin wave. The V_fb is 400mV - 1000 mV sin wave at ~500 kHz. Dec. 11, 2024.
TIM#179 | DAQ |  |  | QSFPprod | One clock transmiter replaced, Feb. 2016 |  | 2 | Hall C to monitor the Tipcie fiber, May 26, 2017
TI#184 | HallD |  |  | QSFPprod |  |  | 5
TI#185 | HallD |  |  | QSFPprod |  |  | 5
TI#186 | HallC |  |  | QSFPprod |  |  | 2
TI#187 | HallC |  |  | QSFPprod |  |  | 8
TI#381 | HallA |  |  | QSFPprod |  |  | 2 | Change Fiber1 to Avago AFBR-79eidz #QF3303WT; Set the SC1 switch correcly. Sept. 29, 2023
TI#382 | HallA |  |  | QSFPprod |  |  | 2
TI#383 | HallA |  |  | QSFPprod |  |  | 2
TI#384 | HallA, Gep/Moller |  |  | QSFPprod |  |  | 2 | Swapped the TI#405, Mar. 9, 2023
TI#385 | HallC |  |  | QSFPprod |  |  | 2
TI#386 | HallC |  |  | QSFPprod |  |  | 2
TI#387 | HallC |  |  | QSFPprod |  |  | 2
TI#388 | HallD |  |  | QSFPprod |  |  | 2
TI#389 | HallD |  |  | QSFPprod |  |  | 2 | FPGA reflowed on Dec.1, needs be replaced. A replacement PCB is made (1/1/20).
TI#390 | HallD |  |  | QSFPprod |  |  | 2
TI#391 | HallD |  |  | QSFPprod |  |  | 2
TI#392 | HallD |  |  | QSFPprod |  |  | 2
TI#393 | ANL purchased |  |  | QSFPprod |  |  | 2 | delivered to Alexandre, 01/22/2020
TI#394 | ANL purchased |  |  | QSFPprod |  |  | 2 | delivered to Alexandre, 01/22/2020
TI#395 | L. Tech purchased |  |  | QSFPprod |  |  | 2 | VME P1 connector was not installed perfectly. Works. delivered to Alexandre, 01/22/2020
TI#396 | HallA |  |  | QSFPprod | FS#C1809175068 |  | 1
TI#397 | HallA |  |  | QSFPprod | FS#C1809175070 |  | 1
TI#398 | HallA |  |  | QSFPprod | FS#C1809175058 |  | 1
TI#399 | HallA |  |  | QSFPprod | FS#C1809175059 |  | 1
TI#400 | HallA |  |  | QSFPprod | FS#C1809175060 |  | 1
TI#401 | HallA |  |  | QSFPprod | FS#C1809175061 |  | 1 | FS#061 is bad, replaced on Sept. 24, 2021
TI#402 | HallA Gep/MOLLER |  |  | QSFPprod | Finisar | 2023-01-05 | 1 | Change the serial# to 601, to be 'sold' to Detector group. May 16, 2024
TI#403 | HallA Gep/MOLLER |  |  | QSFPprod | Finisar | 2023-01-05 | 1
TI#404 | HallA Gep/MOLLER |  |  | QSFPprod | Finisar | 2023-01-05 | 1 | Modified into 8-port Timaster, used in HallC counting house, July16, 2023
TI#405 | HallC NPS |  |  | QSFPprod | Finisar | 2023-01-05 | 1 | swapped with TI#384, Mar. 9, 2023
TI#406 | HallA Gep/MOLLER |  |  | QSFPprod | Finisar | 2023-01-05 | 1
TI#407 | HallA Gep/MOLLER |  |  | QSFPprod | Finisar | 2023-01-05 | 1
TI#408 | HallA Gep/MOLLER |  |  | QSFPprod | Finisar | 2023-01-05 | 1
TI#409 | HallA Gep/MOLLER |  |  | QSFPprod | Finisar | 2023-01-05 | 1
TI#410 | HallA Gep/MOLLER |  |  | QSFPprod | Finisar | 2023-01-05 | 1
TI#411 | HallA Gep/MOLLER |  |  | QSFPprod | Finisar | 2023-01-05 | 1
TI#412 | HallA MOLLER |  |  | QSFPprod | Finisar | 2023-01-05 | 2 | to be modified to 8
TI#413 | HallA MOLLER | in CC/F280 |  | QSFPprod | Finisar | 2023-01-05 | 2 | to be modified to 8,
TI#414 | HallA MOLLER |  |  | QSFPprod | Finisar | 2023-01-05 | 2 | to be modified to 8 as TD
TI#415 | HallA MOLLER |  |  | QSFPprod | Finisar | 2023-01-05 | 2 | to be modified to 8 as TD
TI#416 | HallA MOLLER | in CC/F280 |  | QSFPprod | Finisar | 2023-01-05 | 8 | Production_2024, #36 (swapped with PRAD order), to be used in injector area
TI#417 | HallA MOLLER |  |  | QSFPprod | Finisar | 2023-01-05 | 2 | to be modified to 8 as TD
TI#421 | PRAD2 |  |  | QSFPprod | eight ports | 2024-07-02 |  | Production_2024, #37, all the 20 boards are delivered to HallB in Auguest.
TI#422 | PRAD2 |  |  | QSFPprod | two ports | 2024-07-02 |  | Production_2024, #22
TI#423 | PRAD2 |  |  | QSFPprod | two ports | 2024-07-02 |  | Production_2024, #23
TI#424 | PRAD2 |  |  | QSFPprod | two ports | 2024-07-02 |  | Production_2024, #24
TI#425 | PRAD2 |  |  | QSFPprod | two ports | 2024-07-02 |  | Production_2024, #25
TI#426 | PRAD2 |  |  | QSFPprod | two ports |  |  | Production_2024, #26
TI#427 | PRAD2 |  |  | QSFPprod | two ports |  |  | Production_2024, #27
TI#428 | PRAD2 |  |  | QSFPprod | two ports |  |  | Production_2024, #28
TI#429 | PRAD2 |  |  | QSFPprod | two ports |  |  | Production_2024,#29
TI#430 | PRAD2 |  |  | QSFPprod | two ports |  |  | Production_2024, #30
TI#431 | HallB |  |  | QSFPprod | two ports |  |  | Production_2024, #31
TI#432 | HallB |  |  | QSFPprod | two ports |  |  | Production_2024, #32
TI#433 | HallB |  |  | QSFPprod | two ports |  |  | Production_2024, #33
TI#434 | HallB |  |  | QSFPprod | five ports |  |  | Production_2024, #14
TI#435 | HallB |  |  | QSFPprod | two ports |  |  | Production_2024, #35
TI#436 | HallB |  |  | QSFPprod | two ports |  |  | Production_2024,#16
TI#437 | HallB |  |  | QSFPprod | two ports |  |  | Production_2024,#17
TI#438 | HallB |  |  | QSFPprod | two ports |  |  | Production_2024, #38
TI#439 | HallB |  |  | QSFPprod | two ports |  |  | Production_2024, #39
TI#440 | HallB |  |  | QSFPprod | two ports |  |  | Production_2024, #40
TI#441 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #41, All these 31 boards delivered in Sept. 2024
TI#442 | SOLID |  |  | QSFPprod | five ports |  |  | Production_2024, #02
TI#443 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #43
TI#444 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #44
TI#445 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #45
TI#446 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #46
TI#447 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #47
TI#448 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #48
TI#449 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #49
TI#450 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #50
TI#451 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #51
TI#452 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #52
TI#453 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #53
TI#454 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #54
TI#455 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #55
TI#456 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #56
TI#457 | SOLID |  |  | QSFPprod | five ports |  |  | Production_2022, #416, swapped with MOLLER_TI
TI#458 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #18
TI#459 | SOLID |  |  | QSFPprod | two ports |  |  | Prodcution_2024, #19
TI#460 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #20
TI#461 | SOLID |  |  | QSFPprod | two ports |  |  | Production2_2024, #01 | re-load the firmware, Jan. 17, 2025
TI#462 | SOLID |  |  | QSFPprod | two ports |  |  | Production2_2024, #02
TI#463 | SOLID |  |  | QSFPprod | two ports |  |  | Production2_2024, #03
TI#464 | SOLID |  |  | QSFPprod | two ports |  |  | Production2_2024, #04
TI#465 | SOLID |  |  | QSFPprod | two ports |  |  | Production2_2024, #05
TI#466 | SOLID |  |  | QSFPprod | two ports |  |  | Production2_2024, #06
TI#467 | SOLID |  |  | QSFPprod | two ports |  |  | Production2_2024, #07
TI#468 | SOLID |  |  | QSFPprod | two ports |  |  | Production2_2024, #08
TI#469 | SOLID |  |  | QSFPprod | two ports |  |  | Production2_2024, #09
TI#470 | SOLID |  |  | QSFPprod | five ports |  |  | Production_2024, #15
TI#471 | SOLID |  |  | QSFPprod | two ports |  |  | Production_2024, #01
TI#474 | FEDAQ |  |  | QSFPprod | eight ports |  |  | Production_2024, #34
TI#601 | Detector Group |  |  | QSFPprod | two ports, no optic transceivers |  |  | Modified from #402, no P0, May 16, 2024
TI#602 | U Manitoba |  |  | QSFPprod | five ports, no optic transceivers |  |  | Production_2024, #21. received by Manatoba on May 14, 2024
TI#603 | U Manitoba |  |  | QSFPprod | eight ports, no optix transceivers | 2024-07-02 |  | Production_2024, #42. Port5 FiberMeas configured as TD
TI#604 | U Manitoba |  |  | QSFPprod | five ports, no optic transceivers | 2024-07-02 |  | Production#2_2024, #10
TI#605 | U Manitoba |  |  | QSFPprod | five ports, no optic transceivers | 2024-07-02 |  | Production#2_2024, #11