jefferson lab

Version

4.3

Data Acquisition Group

EVIO User’s Guide

Jefferson Lab Data acquisition group

EVIO User’s Guide

Elliott Wolin

Carl Timmer

timmer@jlab.org

9-Sept-2013

 Thomas Jefferson National Accelerator Facility

12000 Jefferson Ave

Newport News, VA 23606

Phone 757.269.7365 • Fax 757.269.6248

Table of Contents

1.	Introduction	5

1.1.	Evio Version 1	5

1.2.	Evio Versions  2 & 3	5

1.3.	Evio Version 4	6

1.3.1.	File Format Block Size	6

1.3.2.	Network Communication Format	6

1.3.3.	Expanded User Interface	6

1.3.4.	Dictionary	6

1.3.5.	Padding	6

1.3.6.	Data Formats	7

1.3.7.	Random Access	7

1.3.8.	Append Mode	7

1.3.9.	Splitting Files	7

1.3.10.	Thread Safety	7

1.3.11.	Graphics	7

2.	Basics of the C Library	8

2.1.	Starting to use Evio	8

2.2.	Reading events	8

2.3.	Writing events	9

2.3.1.	Splitting files	9

2.3.2.	Naming  files	10

2.4.	Controlling I/O through evIoctl()	10

2.5.	Network Communication Format	12

2.6.	Dictionary	12

2.7.	Data Formats	12

2.8.	Documentation	12

3.	Basics of the C++ Library	13

3.1.	evioChannel	13

3.2.	evioFileChannel	13

3.3.	evioEtChannel	13

3.4.	evioCMSGChannel	14

4.	EVIO Stream Parser	15

4.1.	in C	15

4.2.	In C++	16

5.	EVIO DOM Parser and DOM Trees	18

5.1.	evioDOMNode	18

5.1.1.	getChildList()	19

5.1.2.	geVector<T>()	19

5.2.	evioDOMTree	19

5.2.1.	Manual evioDOMTree construction	19

5.2.2.	Modification of existing trees	20

6.	Utilities	21

6.1.	evio2xml	21

6.2.	xml2evio	22

6.3.	eviocopy	22

7.	C++ Tutorial	23

7.1.	Simple event I/O	23

7.2.	Querying the event tree	24

7.3.	Manipulation of  the event tree	26

7.4.	Example programs	27

7.5.	Advanced topics	27

8.	Jevio (Java Evio)	28

8.1.	Building	28

8.2.	Documentation	28

8.3.	Basics	29

8.4.	Event Creating	29

8.5.	Writing	30

8.5.1.	Writing to file or buffer	30

8.5.2.	Naming  files	32

8.5.3.	Splitting files	33

8.6.	Reading	34

8.7.	Searching	36

8.8.	Parsing	37

8.9.	Transforming	38

8.10.	Dictionaries	38

9.	Compact Jevio	41

9.1.	Basics	41

9.2.	Example 1	42

9.3.	Example 2	43

10.	Jevio Event-Viewing Gui	44

A.    Evio File Format	47

A.1   Old Format, Evio Versions 1-3	47

A.2   New Format, Evio Version 4	48

B.	EVIO Data Format	50

B.1	Bank Structures & Content	50

B.2	Changes From Previous Versions	51

B.3	Composite Data Type	52

C.	EVIO Dictionary Format	55

C.1	Evio versions 2 & 3	55

C.1.1	Jevio problems	56

C.1.2	C++ Evio problems	56

C.2	Evio version 4	56

C.2.1	Behaviors	58

C.2.2	Differences between C++ and Java	59

D.	EVIO Function Objects	60

E.	Revision History	61

Introduction

Section

1

## Evio Version 1

Version 1 of the CODA EVIO package, written in C, was in use at Jefferson Lab for over a decade.  It has seen extensive use in Halls A and C, where the raw data is written to disk in EVIO format, and has seen limited use in the Hall B, where PRIMEX and the GlueX BCAL test stored their raw data in EVIO format (CLAS stored raw data in BOS/FPACK format).

## Evio Versions  2 & 3

In the past few years, in EVIO versions 2 and 3 (no difference between them), the JLab DAQ group upgraded and extended the EVIO package to meet some additional needs.  First added were XML conversion and other utilities, support for all 1, 2, 4, and 8-byte data types, addition of a new TAGSEGMENT bank type, support for gzipped files and pipes (courtesy of Steve Wood), elimination of obsolete data types, as well as a number of bug fixes and performance enhancements.

With the advent of object-orientation and C++ the DAQ group achieved a major upgrade to the EVIO package beyond simple wrapping of existing C code in C++.  Since an EVIO event maps to a directed acyclic graph or tree, a fact which allowed us to write the XML conversion utilities, we based the object-oriented extension on the XML notion of stream and Document Object Model (DOM) parsing and DOM trees.  Note that banks in an EVIO event can either be container nodes or leaf nodes, i.e. they can contain either other banks or data, but not both (unlike XML, where a node can contain both data AND other nodes).

The object-oriented extension to EVIO described below builds upon the modern C++ standard, and makes liberal use of templates and the Standard Template Library (STL) (i.e. containers, iterators, algorithms, function objects, function object adaptors, smart pointers, etc).  Fortunately users need only be familiar with a small subset of these, and examples in the tutorial below show how to do the most common tasks.  However, advanced users of the EVIO package should be able to take full advantage of the STL.

Note that the object-oriented features build upon the existing C library, and except as noted the C library continues to work as before. On the Java front, the DAQ group adopted, extended, and supports Dave Heddle's jevio package.

## Evio Version 4

This brings us to EVIO version 4 which can be found at http://coda.jlab.org . The following outlines the major changes that were made.

## File Format Block Size

In previous versions, the EVIO file format had fixed-size blocks generally set to 8192 32-bit ints (32768 bytes) including a block header. EVIO banks were often split across one or more blocks. This was largely done for error recovery when using tape storage.

In version 4, since tape storage considerations are now irrelevant, each block contains an integral number of events. Users can set the nominal block size or events/block. Writing will not exceed the given limit on events/block, but each block may contain significantly less events depending on their size. The nominal block size will be exceeded in the case that a single event larger than that size is written.

## Network Communication Format

In order to unify file and network communications, the new file format is used for both. The C library has evOpenBuffer and evOpenSocket routines to complement the traditional evOpen and allows reading and writing with buffers and TCP sockets.

## Expanded User Interface

The C library contains several new read routines which differ in their memory handling. Options for the routine evIoctl have been expanded. Routines for dictionary handling and other purposes have been added as well.

## Dictionary

An xml format dictionary can be seamlessly included as the first bank of a file/network format.

## Padding

When using 1 and 2 byte data sizes (short, unsigned short, char, and unsigned char) in previous EVIO versions, there was some ambiguity. Because EVIO format dictates each bank, segment, or tagsegment must be an integral number of 32-bit ints in length, specifying an odd number of shorts or non-multiple of 4 number of chars meant there were extra, unused shorts or chars that the user had to keep track of externally.

In version 4, with banks and segments (not tagsegments), these unused shorts/chars or padding are tracked in the header by using the 2 highest bits of the content type. Padding can be 0 or 2 bytes for shorts and 0-3 bytes for chars. All padding operations are completely transparent to the user.

## Data Formats

There is a new data format called composite data which is used by Hall B. In a nutshell it consists of a string which describes the format of the data - allowing data of mixed types to be stored together - and is followed by the data itself.

## Random Access

There is a read routine which will read a particular event (say #347) directly instead of having to read the previous (346) events.

## Append Mode

There is now a writing mode which will append data to the end of an existing file or buffer.

## Splitting Files

The C, C++, and Java evio libraries all implement a means to limit the size of an evio file being written by splitting it into multiple files. There are facilities to make the automatic naming of these files simple.

## Thread Safety

The libraries are now designed to be thread safe.

## Graphics

The Java library has a graphical user interface for viewing evio format files.

Basics of the C Library

Section

2

The EVIO file format is described in Appendix A while bank structures and content type are described in Appendix B. Appendix C explains the dictionary format.

## Starting to use Evio

The first thing a user must do is to "open" evio and obtain a handle to be used as an argument for all other evio functions. There are now 3 possibilities in the 3 open routines:

- int  evOpen(char *filename, char *flags, int *handle)

- int  evOpenBuffer(char *buffer, int bufLen, char *flags, int *handle)

- int  evOpenSocket(int sockFd, char *flags, int *handle)

The first routine is for opening a file. The "flags" argument can "w" for writing, "r" for reading, "a" for appending, "ra" for random access, or “s” for splitting the file while writing. The splitting, appending and random access modes are new in this version of evio and are not backwards compatible. Writing a file will overwrite any existing data, while appending will add new events to the end of a file. Reading a file will allow access to each event in the order in which it exists in the file - in other words, it is a sequential access to the events. The random access mode, on the other hand, does a preliminary scan of the file and allows reading (not writing) of selected events no matter where they are in sequence. When writing large amounts of data it is often convenient to split the output into a number of files. This is supported by specifying the “s” flag. By proper specification of the filename argument and by using the evIoctl() function, these split files can be automatically named.

The second routine is for opening a buffer. It takes a pointer to a buffer as well as its length in words (32 bit ints) as the first 2 arguments. The "flags" argument is the same as for evOpen() as discussed in the previous paragraph with the exception of “s” since splitting makes no sense for buffers.

The third is for opening evio with a TCP socket. The first argument is the socket file descriptor of a TCP socket which was created elsewhere. The "flags" argument in this case can only be "w" for writing, "r" for reading since splitting, appending or random access makes no sense when talking about a stream-oriented medium.

## Reading events

There are now 4 routines able to read an event.

- int  evRead(int handle, uint32_t *buffer, size_t buflen)

- int  evReadAlloc(int handle, uint32_t **buffer, uint64_t *buflen)

- int  evReadNoCopy(int handle, const uint32_t **buffer, uint64_t *buflen)

- int  evReadRandom(int handle, const uint32_t **pEvent, size_t eventNumber)

The first is the original read routine which reads an event into a user-given buffer. Its main problem is that the caller does not generally know the size of the event before reading it and therefore the supplied buffer may be too small - resulting in an error.

The second reads an event, allocating all the memory necessary to hold it with the caller responsible for freeing that memory.

The way evio works internally is that a file/buffer/socket is read one block at a time into an internal buffer. The third routine simply returns a pointer to the next event residing in the internal buffer - so no memory allocation or copying is done. If the data needs to be swapped, it is swapped in place. Any other calls to read routines will cause the data to be overwritten if a new block needs to be read in. Of course, no writing to the returned pointer is allowed.

Finally, the last read routine works like the 3rd read routine described in the previous paragraph in which a pointer to an internal buffer is returned to the caller. It is valid only when evio has been opened in random access mode and allows the caller to read only the event of interest instead of all previous events as well.

## Writing events

As in previous versions there is only 1 write routine simply because the C library will only write in the new format, so no changes here:

int evWrite(int handle, const uint32_t *buffer)

However, there is a complication when writing to a buffer that does not occur when writing to a file or socket. Unlike a file which grows as one writes or a socket that will take any amount of data, the buffer that the caller provides to contain what is written, is of fixed size. Thus an error can be returned if the amount of data written exceeds the buffer size; therefore, it is convenient to keep track of how much has already been written, before continuing to write more. This can be done through the following new routine:

int evGetBufferLength(int handle, uint64_t *length)

This routine returns the number of bytes currently written into a buffer when given a handle provided by calling evOpenBuffer(). After the handle is closed, this no longer returns anything valid.

## Splitting files

When writing significant amounts of data to a single file, that file can get very large – too large. Historically, run control was able to split the data into multiple files with an automatic file naming system. For this version of evio, the ability to split files is built in as is the naming system. Start by setting the “flags” parameter in the evOpen() call to “s”. In addition to that, the user may choose the number of bytes at which to start writing to a new file by a call to evIoctl() (see below). If not explicitly set, the split occurs at 1GB. If a dictionary is defined by calling evWriteDictionary() (see below), then that dictionary is included in each of the split files. The split files are named according to the automatic naming system whose details are given in the next section.

## Naming  files

When splitting files, a base filename is passed to evOpen() and may contain characters of the form $(env) where “env” is the name of an environmental variable. When a file is created, all such contructs will be substituted with the actual environmental variable’s value (or nothing if it doesn’t exist).

Similarly, the base filename may contain constructs of the form %s which will be substituted with the actual run type’s value (if set with evIoctl) or nothing if run type is null or was not set.

Generated files names are distinguished by a split number which starts with 0 for the first file and is incrementing by 1 for each additional file. Up to 2, C-style integer format specifiers (such as %03d, or %x) are allowed in the base filename. If more than 2 are found, an error is returned. If no "0" precedes any integer between the "%" and the "d" or "x" of the format specifier, it will be added automatically in order to avoid spaces in the generated filename. The first specifier will be substituted with the given run number value (set in evIoctl()). The second will be substituted with the split number. If no specifier for the split number exists, it is tacked onto the end of the file name.

Below is an example of how the file naming and splitting is done. Given the list of values below

int split          = 100000000; // split at 100MB

int runNumber      = 1;

char *runType      = “myExperiment”;

char *directory    = “/myDirectory”;

char *baseFilename = “my$(BASE_NAME)_%s_%x_%03d.ext”;

and a BASE_NAME environmental variable of the value “File”, the following happens. The baseFilename string will have the environmental variable, BASE_NAME, substituted in the obvious location along with the runType substituted for the %s, the runNumber substituted for the %x (hex format), and the split number substituted for the %03d.  The first 3 split files will have the names:

myFile_myExperiment_1_001.ext

myFile_myExperiment_1_002.ext

myFile_myExperiment_1_003.ext

## Controlling I/O through evIoctl()

Some control over evio settings is given to the user with the evIoctl() routine, shown below,

int evIoctl (int handle, char *request, void *argp)

It can be used, for example, to set the target block size and the maximum number of events/block for writes.  It can also read various quantities including the total number of events in a file or buffer opened for reading or writing.

This routine can obtain a pointer to allocated memory containing the most recently read block header. The size of the memory is 8,  32-bit unsigned integers (words) and the pointer to the memory is obtained by passing its address in argp. This pointer must be freed by the caller to avoid a memory leak.

To summarize, the request parameter can be the case independent string value of:

- "B"  for setting target block size in words

- “W” for setting writing (to file) internal buffer size in words

- "N"  for setting max # of events/block

- “R” for setting run number (used in file splitting)

- “T” for setting run type (used in file splitting)

- “S” for setting file split size in bytes

- "V"  for getting evio version #

- "H"  for getting 8 words of block header info

- "E"  for getting # of events in file/buffer

The argp parameter is a:

- pointer to 32 bit unsigned int containing block size in 32-bit words if request = B

- pointer to 32 bit unsigned int containing buffer size in 32-bit words if request = W

- pointer to 32 bit unsigned int containing max # of events/block if request = N

- pointer to 32 bit unsigned int containing run # if request = R

- pointer to character containing run type if request = T

- pointer to 64 bit unsigned int containing file split size in bytes if request = S

- pointer to 32 bit int returning the version # if request = V

- address of pointer to unsigned 32 bit int returning a pointer to 8 uint32_t's of block header if request = H. (This pointer must be freed by caller since it points to allocated memory).

- pointer to unsigned 32 bit int returning the total # of original events in existing 
file/buffer when reading or appending if request = E

## Network Communication Format

In order to unify file and network communications, the new file format is used for both. The C library has evOpenBuffer() and evOpenSocket() routines to complement the traditional evOpen() and allows reading and writing with buffers and TCP sockets.

## Dictionary

An xml format dictionary can be seamlessly included as the first event when writing events to a file, buffer, or network. Refer to Appendix C for details on the format of a dictionary. To write a dictionary, simply call the following routine

int evWriteDictionary(int handle, char *xmlDictionary)

before writing any events and it will be seemlessly included as the first event in the first block. If events have already been written, an error will be returned. When reading events, simply call the following routine to get the dictionary, as a string, if it was defined:

int evGetDictionary(int handle, char **dictionary, int *len)

Note that if a file is being split, each file contains the dictionary.

## Data Formats

There is a new data format called composite data which is used by Hall B. In a nutshell, it consists of an evio format string which describes the format of the data - allowing data of mixed types to be stored together - and is followed by the data itself.

## Documentation

Besides the document you are now reading, there are doxygen docs which are essentially javadoc web pages for C/C++ code. To those unfamiliar with doxygen, programmers include specially formatted comments in the code itself which is extracted by the doxygen program and formed into web pages for view with a web browser. The user must generate these web pages by going to the top level of the evio distribution and typing "scons doc". Then simply view the doc/doxygen/C[or CC]/html/index.html file in a browser.

Basics of the C++ Library

Section

3

Important:  all symbols in the EVIO C++ library reside in the “evio” namespace.

## evioChannel

The foundation for I/O in the C++ object-oriented version of EVIO is the notion of an EVIO channel, an abstract or pure virtual class that includes the methods open(), read(), write(), and close().  Real or concrete channels extend the evioChannel class and use their constructors to supply information needed to access the underlying EVIO data stream.

There are three flavors of the write() method implementing output 1) from the internal evioChannel buffer, 2) from a user-supplied buffer, and 3) from the internal buffer in another evioChannel object.  Additional methods include getBuffer() and getBufSize().

## evioFileChannel

The evioFileChannel class is a subclass of evioChannel that implements I/O to and from files or file-like entities (e.g. pipes).  The constructor accepts a file name, an optional mode string (default is “r”), and an optional internal buffer size (default is 8192 longwords).   The internal buffer is allocated automatically.  The ioctl() method can be used to set the EVIO file block size in write mode (default is 8192 longwords), and must be called immediately after the open() method (ioctl is ignored for read mode).

This class is little more than an object-oriented wrapper around the original C function library.  See the C++ tutorial for an example of how to use evioFileChannel, the C Library API in Appendix A for additional information, or the Doxygen docs for full API information.

## evioEtChannel

The evioEtChannel class has not been written yet (Jan 2007…ejw).  Its purpose is to read/write EVIO events to and from ET systems.

## evioCMSGChannel

The evioCMSGChannel class has not been written yet (Jan 2007…ejw).  Its purpose is to read/write EVIO events to and from the cMsg system

.

EVIO Stream Parser

Section

4

Stream parsing an EVIO event involves making a single pass through the event and dispatching to user-supplied callbacks as each new bank is reached.  Two versions are supplied, a C version and a C++ version.

In the C version the user supplies two callbacks to evio_stream_parse() along with a pointer to the event buffer.  evio_stream_parse() works its way through all the banks in the event in order, calling the callbacks as each new node or bank is reached.  One callback is called when container banks (ones containing other banks, not data) are reached, the other when leaf or data banks are reached.

In the C++ version the evioStreamParser constructor is given an evioChannel object containing an event (e.g. an evioFileChannel object which obtained an event via its read() method) and a user-written callback handler object.  The latter implements two methods:  containerNodeHandler() and leafNodeHandler().  containerNodeHandler() is called when a container node or bank is reached, and leafNodeHandler() is called when a leaf or data node is reached.

In general, stream parsing may be useful for a quick pass through the data, but in C++ DOM parsing and DOM trees (see the next section) are the preferred ways to deal with EVIO events in all but the simplest cases.

## in C

To use evio_stream_parser():

#include “evio.h”

int handle;

unsigned int buffer[10000];

int buflen=10000;

/* open file */

status = evOpen(myFilename, “r”, &handle);

/* read events */

while(evRead(handle, buffer, buflen)==S_SUCCESS) {

/* parse event and dispatch to callbacks */

evio_stream_parser(buffer, node_handler, leaf_handler);

}

/* close file */

evclose(handle);

where the node_handler callback is of type NH_TYPE, and the leaf_handler callback is of type LH_TYPE (either can be NULL):

typedef void (*NH_TYPE)(int length, int ftype, int tag, int type,

int num, int depth);

typedef void (*LH_TYPE)(void *data,

int length, int ftype, int tag, int type,

int num, int depth);

where length is the length of the contents of the bank, ftype is the type of bank (BANK,  SEGMENT, or TAGSEGMENT) , tag is the bank tag, type defines the content type of the bank,  num is defined only for the BANK type (set to 0 for SEGMENT and TAGSEGMENT),  depth is the level of the bank in the tree, and data is a pointer to the array of data contained by the leaf bank (must be cast to appropriate type before accessing data).

## In C++

To use the evioStreamParser:

#include <evioUtil.hxx>

using namespace evio;

using namespace std;

int main(int argc, char **argv) {

try {

// create evio file channel object for reading, argv[1] is filename

evioFileChannel chan(argv[1], “r”);

// open the file

chan.open();

//  create parser and node handler objects

evioStreamParser parser;

myHandler handler;

// read events and parse channel internal buffer

while(chan.read()) {

parser.parse(chan.getBuffer(),handler,(void*)NULL);

}

// eof reached...close file

chan.close();

} catch (evioException e) {

cerr << endl << e.toString() << endl << endl;

exit(EXIT_FAILURE);

}

// done

exit(EXIT_SUCCESS);

}

where:

class myHandler : public evioStreamParserHandler {

void *containerNodeHandler(int length, unsigned short tag,

int contentType, unsigned char num, int depth, void *userArg) {

return(NULL);

}

void leafNodeHandler(int length, unsigned short tag, int contentType,

unsigned char num, int depth, const void *data, void *userArg) {

}

};

EVIO DOM Parser and DOM Trees

Section

5

In analogy with XML DOM parsing, the EVIO DOM parser constructs an in-memory object-oriented representation of an EVIO event.   This in-memory representation is stored as an instance of the evioDOMTree class.  The evioDOMTree constructor can automatically construct the tree based on an event contained in an evioChannel object (e.g. an instance of evioFileChannel).  Manual construction and modification of trees is also possible.

The tree itself consists of a hierarchy of nodes of two types, container nodes and leaf nodes.  Container nodes hold lists of other nodes; leaf nodes contain vectors of data. Both node types inherit from the abstract base class evioDOMNode.  The top node in the tree is called the root node.  Note that the API is defined entirely by the evioDOMNode class, and that user code never calls its sub-classes directly.

## evioDOMNode

This is the abstract base class for the two concrete node types described above, and the only class that users deal with directly. The evioDOMNode class contains a parent pointer, parent tree pointer, tag, num, and content type.  The latter three correspond to the fields in EVIO bank headers in EVIO files.  Legal content types are listed in Appendix C.

Nodes are created via static factory methods :

evioDOMNodeP evioDOMNode::createEvioDOMNode()

where evioDOMNodeP is a node pointer and all objects are created on the heap.  Other methods include toString(), which returns an XML fragment representing the node; bool  isContainer() and isLeaf(), and a few others described below.  operator== and operator!= are defined to compare tags if the argument is an integer, or tag and num if the argument is a tagNum pair (see API docs).

## getChildList()

getChildList() returns a pointer to the child list of an evioDOMNode that actually is a container node.  NULL is returned if the node is a leaf node.  See the tutorial for more details.

## geVector<T>()

getVector<T>() returns a pointer to the data vector contained in a leaf node of type T, where T is one of the many supported data types (int, unsigned int, double, etc).  NULL is returned if the node is a container node, or if it is a leaf node containing a different type.  See the tutorial for more details.

## evioDOMTree

This class represents the EVIO DOM tree or event in memory.  It contains a pointer to the evioDOMNode that forms the root of the tree (type is always BANK), and the name of the tree (default is “evio”).  It can construct a tree from an event contained in an evioChannel object (see the tutorial).  Manual construction of a tree is discussed below.

Methods include toString(), which returns an XML string representing the entire contents of the tree, and getNodeList(Predicate P), which returns a (pointer to a) list of pointers to all nodes in the tree satisfying the predicate P.  See the C++ tutorial or the API docs for details.

## Manual evioDOMTree construction

Manual construction of an evioDOMTree might typically happen in a Monte Carlo program that outputs simulated data.  A root node must first be created, then it can be filled with either data if it is a leaf node, or pointers to other evioDOMNode objects if it is a container node.  This process can be repeated recursively until a complete tree is formed.  Then e.g. the tree can be written to a file via use of the write() method of an evioFileChannel object.

evioDOMTree constructors exist that can automatically create the root node.  Alternatively, you can create the root node yourself and supply it to the tree constructor directly.

Nodes are created via the static factory methods evioDOMNode::createEvioDOMNode(), and can be added to the root node (assuming it is a container) or other container nodes in a variety of ways.  See the tutorial for examples of how to create nodes, add nodes to the child lists of container nodes, and add data to leaf nodes.

## Modification of existing trees

Modification of an existing tree might typically happen in a reconstruction program that first constructs an evioDOMTree from data read in by an evioFileChannel object, and then adds additional reconstructed data to the tree before writing it out again.  The program might create one or more sub-trees containing the new data, then add the subtrees to the child lists of container nodes in the original tree.  Further, sub-trees of the existing tree might be deleted by removing them from the child lists of container nodes, or moved from one container node to another.

These operations are easily carried out via the evioDOMNode methods cut(), cutAndDelete(), and move().  See the tutorial for details.

Utilities

Section

6

The utilities described below can be used to convert from binary EVIO to ASCII XML format and back, and to selectively copy EVIO events from one binary file to another.  Below the term “event tag” refers to the tag of the outermost bank in an event, which is always of type BANK (two-word header, includes num).

## evio2xml

evio2xml is a flexible utility that reads a binary EVIO file and dumps selected events in XML format to stdout or to a file:

$ evio2xml –h

evio2xml [-max max_event] [-pause] [-skip skip_event]

[-dict dictfilename] [-dumpDict]

[-xtod] [-max_depth max_depth] [-no_data] [-no_dump]

[-indent indent_size] [-maxbuf maxbuf]

[-verbose] [-debug]

[-bankTag bankTag] [-noBankTag bankTag]

[-bankName bankName] [-noBankName bankName]

filename

where most options customize the look and feel of the XML output, and defaults should be satisfactory.  –max specifies the maximum number of events to dump, –pause causes evio2xml to pause between events,  -skip causes it to skip events before starting to dump them. By default the bank tags are printed as numbers.  The user can specify ASCII strings to be used instead in a tag dictionary (via –dict).  Contact the DAQ group to get an example dictionary file.

## xml2evio

xml2evio converts an EVIO XML file to a binary EVIO file:

$ xml2evio –h

xml2evio [-xml xmlfilename] [-max max_event] [-skip nskip]

[-evio eviofilename] [-dict dictfilename]

[-m main_tag] [-e event_tag]

where –xml specifies the input file name, –max specifies the maximum number of events to convert, -skip causes xml2evio to skip events before converting, -evio specifies the output file name, -dict is as described above for evio2xml, and –m and –e handle custom XML main and event tags.

## eviocopy

eviocopy copies selected events from a binary EVIO file to another binary EVIO file.

$ eviocopy –h

eviocopy [-max max_event] [-skip skip_event]

[-ev evtag] [-noev evtag] [-debug]

input_filename output_filename

where –max specifies the maximum number of events to copy, -skip cause eviocopy to skip events, -ev causes eviocopy to only copy events with the specified event tag, and

-noev inhibits copying of events with the specified tag.  –ev and –noev can be specified multiple times on the command line.

C++ Tutorial

Section

7

Below are examples showing: how to read an event from a file into an evioDOMTree; how to query the tree to get lists of node pointers that satisfy various criteria and how to work with the lists; and how to modify the tree.  Some advanced topics follow.

## Simple event I/O

Below is a simple example that uses an evioFileChannel object to open and read an EVIO file, then create an evioDOMTree from the event in the evioFileChannel object, then dump the event to stdout:

#include <evioUtil.hxx>

using namespace evio;

using namespace std;

int main(int argc, char **argv) {

try {

// create evio file channel object for reading, argv[1] is filename

evioFileChannel chan(argv[1], “r”);

// open the file

chan.open();

// loop over events

while(chan.read()) {

// create tree from contents of file channel object

evioDOMTree tree(chan);

// print tree

cout << tree.toString() << endl;

}

// eof reached...close file

chan.close();

} catch (evioException e) {

cerr << endl << e.toString() << endl << endl;

exit(EXIT_FAILURE);

}

// done

exit(EXIT_SUCCESS);

}

The tree can be written to a file via the write() method of the evioChannel class.

## Querying the event tree

There are many ways to query an evioDOMTree to get lists of subsets of nodes in the tree.  To get an STL list of pointers to all nodes in the tree:

evioDOMNodeListP pList = tree.getNodeList();

(Note to experts:  evioDOMNodeListP is actually auto_ptr< list<evioDOMNodeP> >, where evioDOMNodeP is evioDOMNode*)

Here no predicate is given to getNodeList() so all pointers are returned.  To get a list of pointers to just container nodes:

evioDOMNodeListP pContainerList = tree.getNodeList(isContainer());

where isContainer() is a function object provided with the EVIO package (see Appendix D for a list of all supplied function objects).  Similarly, to get a list of just leaf nodes:

evioDOMNodeListP pLeafList = tree.getNodeList(isLeaf());

To get a list of pointers to nodes satisfying arbitrary user criteria:

evioDOMNodeListP pMyList = tree.getNodeList(myChooser);

where  myChooser() is a simple C function instead of a function object.  An example that specifies particular tag/num combinations is:

bool myChooser(const evioDOMNodeP node) {

return(

((node->tag==3)&&(node->num==0)) ||

((node->tag==2)&&(node->num==1))

);

}

To print all the nodes in the list (there are many ways to do this):

for_each(pList->begin(), pList->end(), toCout());

for_each() is one of a large number of STL algorithms.  It accepts an STL iterator range (pList->begin(),  pList->end()) and applies the function object in its third argument to each object in the iterator range in turn.  Here toCout() is another of the many function objects supplied by the EVIO package.   toCout() invokes the toString() method of the objects pointed to by the iterator, then streams the result to cout.

To print just leaf nodes, this time using iterators:

evioDOMNodeList::iterator iter;

for(iter=pLeafList->begin(); iter!=pLeafList->end(); iter++) {

cout << endl << (*iter)->toString() << endl;

}

Note that (*iter) is an evioDOMNodeP,  i.e. a pointer to an evioDOMNode object.

To count the number of leaf nodes with tags between 0 and 20 (this is an inefficient algorithm shown for illustration only):

for(int tag=0; tag<=20; tag++) {

cout << "There are "

<< count_if(pLeafList->begin(), pLeafList->end(), tagEquals(tag))

<< " leaf nodes with tag " << tag << endl;

}

count_if() is another STL algorithm that counts all objects within the iterator range for which the predicate in the third argument is true.  tagEquals() is another EVIO function object that returns true if the tag of the object pointed to by the iterator is equal to the argument given to the tagEquals() constructor, in this case the loop index “tag”.

To search the full list and print the data from all leaf nodes containing floats (i.e. vector<float>) using the evioDOMNode member function getVector():

evioDOMNodeList::iterator iter;

for(iter=pList->begin(); iter!=pList->end(); iter++) {

vector<float> *v = (*iter)->getVector<float>();

if(v!=NULL) {

cout << endl << endl << “Float node data:" << endl;

for(int i=0; i<v->size(); i++) cout << (*v)[i] << endl;

}

}

Note that getVector<T>() returns NULL if the node is not a leaf node containing (in this case) floats.  You can tell what type of data is contained in a node via the getContentType() member function.  See Appendix C for a list of legal content types.

To search the full list and access the child lists of container nodes using getChildList():

evioDOMNodeList::iterator iter;

for(iter=pList->begin(); iter!=pList->end(); iter++) {

evioDOMNodeList *pChildList = (*iter)->getChildList();

cout << “Node has “ << pChildList->size() << “ children” << endl;

if(pChildList->size()>0) {

evioDOMNodeList::const_iterator cIter;

for(cIter=pChildList->begin(); cIter!=pChildList->end(); cIter++) {

cout << "child has tag: " << (*cIter)->tag << endl;

}

}

}

## Manipulation of the event tree

To add a new leaf node containing integers to the root node (must be container) of a tree:

unsigned short tag;

unsigned char num;

vector<int> myIntVec(100,1);

tree.addBank(tag=5, num=10, myIntVec);

or:

tree << evioDOMNode::createEvioDOMNode(tag=5, num=10, myIntVec);

or:

tree.root->addNode(evioDOMNode::createEvioDOMNode(tag=5, num=10, myIntVec));

If  cn1 is a container node somewhere in the tree hierarchy you can add a new node ln2 to cn1 (here ln2 is a leaf node containing ints) via:

evioDOMNodeP ln2 = evioDOMNOde::createEvioDOMNode(tag=2, num=8, myIntVec);

cn1->addNode(ln2);

or:

*cn1 << ln2;

To append more data to ln2:

vector<int> myIntVec2(100,2)

ln2->append(myIntVec2);

or:

*ln2 << myIntVec2;

To replace the data in ln2 with new data:

ln2->replace(myIntVec2);

To move ln2 from cn1 to another container node cn3:

ln2->move(cn3);

To cut cn1 out of the tree:

cn1->cut();            // just cut it out

or:

cn1->cutAndDelete();   // also delete cn1 and all of its contents

## Example programs

A number of annotated example programs exist in the examples directory in the EVIO distribution.   These demonstrate how to read and write files; query and manipulate event trees; create, manipulate, modify, and delete banks; etc.

## Advanced topics

The following examples cover some more advanced features and topics that can be ignored by most users:

evioDOMNodeListP is a smart pointer (auto_ptr<>) that is used to ensure the memory used by the lists returned by getNodeList()  is released when the lists go out of scope.  While in most respects smart pointers act like normal pointers, they have some unusual assignment semantics.  If one smart pointer is set equal to another, ownership of the contents is transferred, and the original loses ownership, e.g:

evioDOMNodeListP p1(...);    // p1 points to something

evioDOMNodeLIstP p2();       // p2 empty

p2=p1;                       // p2 points to something, p1 is now empty!!!

Further, smart pointers must not be stored in STL containers.  See the STL documentation for more information on smart pointers and auto_ptr.

Note that if a standard shared pointer ever appears auto_ptr<> will be replaced.  We decided not to use the Boost shared pointer as Boost is not part of the standard Linux distribution.  We are considering incorporating a third-party shared pointer into the EVIO library if nothing else appears.  Contact EJW for more information.

Jevio (Java Evio)

Section

8

The current Java EVIO package, called jevio (actually Java package org.jlab.coda.jevio) was originally written by Dr. Dave Heddle of CNU and was graciously given to the JLAB DAQ group for maintenance and continued development. Since it was created independently of the C++ implementation, it differs in its interface but contains most of the same functionality.

## Building

The jevio software package uses ant to compile. To get a listing of all the options available to the ant command, run ant help in the jevio top level directory to get this output:

help: 
    [echo] Usage: ant [ant options] <target1> [target2 | target3 | ...] 

    [echo]        targets: 
    [echo]        help       - print out usage 
    [echo]        env        - print out build file variables' values 
    [echo]        compile    - compile java files 
    [echo]        clean      - remove class files 
    [echo]        cleanall   - remove all generated files 
    [echo]        jar        - compile and create jar file 
    [echo]        install    - create jar file and install into 'prefix' 
    [echo]                     if given on command line by -Dprefix=dir', 
    [echo]                     else install into INSTALL_DIR or CODA_HOME 
    [echo]                     if defined (in that order) 
    [echo]        all        - clean, compile and create jar file 
    [echo]        javadoc    - create javadoc documentation 
    [echo]        developdoc - create javadoc documentation for developer 
    [echo]        prepare    - create necessary directories

Although this is fairly self-explanatory, executing ant is the same as ant compile.  That will compile all the java. All compiled code is placed in the generated ./build directory. If the user wants a jar file, execute ant jar to place the resulting file in the ./build/lib directory.

## Documentation

In addition to the documentation in this file, there is javadoc which can be generated from the full source distribution of jevio. While not as detailed in explanation as this chapter, it will be much more complete with each publicly accessible class and method being listed. Javadoc can be generated by going into the top level jevio directory and executing the command ant javadoc. If more detail is desired, classes and methods which are not public can be seen by creating the javadoc by executing the command ant developdoc. This is more suitable for a developer. The resulting javadoc is placed in the ./doc/javadoc directory. Look in that directory at the file named index.html in a browser.

## Basics

There are some things necessary to know before reading and writing evio format files. However, this is not intended to be a full evio tutorial. First, let's look at the classes which form the basis of evio data and do some basic manipulations.

Evio's container structures are banks, segments, and tagsegments. These entities are implemented with 4 different classes. At the very top level is the EvioEvent which is just a special case (subclass) of an EvioBank with dictionary and other extra data included. Banks, of course, have 2 words (8 bytes) of header followed by data. The EvioSegment and EvioTagSegment classes represent segments and tagsegments respectively, each have 1 word of header, no num value and differing amounts of tag and type data.

To get information contained in a header, call getHeader() with event, bank, seg, or tagseg objects. Using the returned BaseStructureHeader object, there are methods available to get & set values for content type, tag, num, length, and padding.

Events of any complexity (containing container structures) are created using the EventBuilder class. The writing of events is done through EventWriter objects, and the reading of events through EvioReader. There is also a graphical viewer of events available in EventTreeFrame.

In previous versions of jevio, only files could be written and read. Currently, however, evio data can be handled by buffers as well.

The next 2 sections have examples which work together. The reading example will read what the writing example produces.

## Event Creating

There are 2 ways to create an evio event. Start with the simplest first -- use the EventBuilder class to do it. This takes care of all the little details and requires only the initial calling of the constructor and subsequent calling of the addChild() method to create an evio event. The builder will check all arguments, the byte order of added data, type mismatches between parent & child, and will set all evio header lengths automatically. The following code uses the EventBuilder to create an event (bank) of banks with 1 child which is a bank of segments. The bank of segments also has 1 child which is a segment of shorts.

// Use the EventBuilder class to create event of banks, tag=1, num=1

EventBuilder builder = new EventBuilder(1, DataType.BANK, 1); 
EvioEvent event = builder.getEvent(); 

// bank of segments 
EvioBank bankSegs = new EvioBank(2, DataType.SEGMENT, 2); 
builder.addChild(event, bankSegs); 

// segment of 3 shorts 
EvioSegment segShorts = new EvioSegment(3, DataType.SHORT16); 
short[] sdata = new short[] {1,2,3};

segShorts.setShortData(sdata); 
builder.addChild(bankSegs, segShorts);

// To remove a structure

builder.remove(segShorts);

The second means is to call the insert() method of the event or its children. This method requires the event to call setAllHeaderLengths() at the end to make sure all the evio headers in the event have the proper lengths set. The following code does exactly what the previous example does but does not check for the issues mentioned above:

// Use event constructor and insert() calls 
EvioEvent event = new EvioEvent(1, DataType.BANK, 1); 

// bank of segments 
EvioBank bankSegs = new EvioBank(2, DataType.SEGMENT, 2); 
event.insert(bankSegs); 

// segment of 3 shorts 
EvioSegment segShorts = new EvioSegment(3, DataType.SHORT16); 
short[] sdata = new short[] {1,2,3};

segShorts.setShortData(sdata); 
bankSegs.insert(segShorts);

// To remove a structure

bankSegs.remove(segShorts);

// Make sure all evio headers have correct lengths

event.setAllHeaderLengths();

## Writing

## Writing to file or buffer

Start writing an evio format file or buffer with an EventWriter object. Simply pick among the various constructors for your medium of choice. There are optional parameters including allowing the user to chose whether to append to or overwrite any previously existing data. The user can also set the block size and number of events per block as well as specify a dictionary and data byte order among other things. Refer to the javadoc for all of the possibilities.

Below is some example code with comments showing how the writing is done. It shows how to write to both files and buffers as well as how to define a dictionary and how to create evio data. If the reader is unfamiliar with Java's ByteBuffer class, take some time to read up on it when using buffers. It will allow you to do many things.

// For WRITING a file or buffer 
public static void main(String args[]) { 
	
   // Define xml dictionary 
   String xmlDictionary = 
      "<xmlDict>\n" + 
      "  <bank name=\"bank of banks\"          tag=\"1\"   num=\"1\">\n" + 
      "     <bank name=\"bank of segments\"    tag=\"2\"   num=\"2\">\n" + 
      "       <leaf name=\"segment of shorts\" tag=\"3\"   />\n" + 
      "     </bank>\n" + 
      "     <bank name=\"bank of banks\"       tag=\"4\"   num=\"4\">\n" + 
      "       <leaf name=\"bank of chars\"     tag=\"5\"   num=\"5\"/>\n" + 
      "     </bank>\n" + 
      "  </bank>\n" + 
      "  <dictEntry name=\"last bank\"         tag=\"33\"  num=\"66\"/>\n" + 
      "</xmlDict>";

// Data to write
	byte[]  byteData1 = new byte[]  {1,2,3,4,5}; 
	int[]   intData1  = new int[]   {4,5,6}; 
	int[]   intData2  = new int[]   {7,8,9}; 
	short[] shortData = new short[] {11,22,33};

// Do we append or overwrite?

boolean append = false;

// Do we write to file or buffer?

boolean toFile = true;

ByteBuffer myBuf = null;

	try {

EventWriter writer;

if (toFile) {

// Create an event writer to write out the test events to file

// along with a dictionary
		String fileName  = "./myData"; 
   		File file = new File(fileName);

writer = new EventWriter(file, xmlDictionary, append); 
	    }

else {
          // Or create an event writer to write to buffer 
          myBuf = ByteBuffer.allocate(10000); 
          myBuf.order(ByteOrder.LITTLE_ENDIAN); 
          writer = new EventWriter(myBuf, xmlDictionary, append); 
	    }

// event - bank of banks 
       EventBuilder builder = new EventBuilder(1, DataType.BANK, 1); 
       EvioEvent event = builder.getEvent(); 

       // bank of segments 
       EvioBank bankSegs = new EvioBank(2, DataType.SEGMENT, 2); 
       builder.addChild(event, bankSegs); 

       // segment of 3 shorts 
       EvioSegment segShorts = new EvioSegment(3, DataType.SHORT16); 
       segShorts.setShortData(shortData); 
       builder.addChild(bankSegs, segShorts); 

       // another bank of banks 
       EvioBank bankBanks = new EvioBank(4, DataType.BANK, 4); 
       builder.addChild(event, bankBanks); 

       // bank of chars 
       EvioBank charBank = new EvioBank(5, DataType.CHAR8, 5); 
       charBank.setByteData(byteData1); 
       builder.addChild(bankBanks, charBank); 

       // Write event to file 
       writer.writeEvent(event);

// How much room do I have left in the buffer now?

if (!toFile) {

System.out.println("I have " + myBuf.remaining() + " bytes left");

} 

       // event - bank of ints 
       EvioEvent lastEvent = new EvioEvent(33, DataType.INT32, 66);

// Tell jevio what the data's endianness is.

// This will not swap anything now but will

// enable it to be written out properly.

// NOT necessary to call if data is big endian.

// Call this BEFORE dealing with data! 
       lastEvent.setByteOrder(ByteOrder.LITTLE_ENDIAN);

// Overwrite all previous data with "setIntData" 
       lastEvent.setIntData(intData1);

// Append data to end with "appendIntData" 
       lastEvent.appendIntData(intData2);

// Write last event to file or buffer 
       writer.writeEvent(lastEvent); 

       // All done writing 
       writer.close(); 
   } 
   catch (IOException e) { 
       e.printStackTrace(); 
   } 
   catch (EvioException e) { 
       e.printStackTrace(); 
   }

}

## Naming  files

The filename passed to any of the constructors may contain characters of the form $(env) where “env” is the name of an environmental variable. When the file is created, all such contructs will be substituted with the actual environmental variable’s value (or nothing if it doesn’t exist).

Similarly, the filename may contain constructs of the form %s which will be substituted with the actual run type’s value (if passed in as a parameter to the constructor).

The filename may also contain the run number value (if passed in as a parameter to the constructor) and the split number (if splitting). This is done by allowing up to 2, C-style integer format specifiers (such as %03d, or %x) in the filename. If more than 2 are found, an exception will be thrown. If no "0" precedes any integer between the "%" and the "d" or "x" of the format specifier, it will be added automatically in order to avoid spaces in the generated filename. The first occurrence will be substituted with the given run number value. If the file is being split, the second will be substituted with the split number. If 2 specifiers exist and the file is not being split, no substitutions are made.

## Splitting files

When writing significant amounts of data to a single file, that file can get very large – too large. Historically, run control was able to split the data into multiple files with an automatic file naming system. For this version of evio, the ability to split files is built in as is the naming system. Simply pick the constructor designed for file splitting with parameters allowing the user to choose the number of bytes at which to start writing to a new file and the name of the files to use. The constructor of both the EventWriter and EvioCompactEventWriter (more on this in the next chapter) classes have input parameters for a base filename, run type, run number, and split size.

A description of the general file naming system is in the section above, but when splitting into multiple files (split size > 0), the user should also be aware that the generated files names are distinguished by a split number. If the base filename contains C-style int format specifiers, then the first occurrence will be substituted with the given run number value. The second will be substituted with the split number. If no specifier for the split number exists, it is tacked onto the end of the file name.

Below is example code with comments showing how the file naming and splitting is done.

int split           = 100000000; // split at 100MB

int runNumber       = 1;

String runType      = “myExperiment”;

String directory    = “/myDirectory”;

String baseFilename = “my$(BASE_NAME)_%s_%x_%03d.ext”;

EventWriter writer  = new EventWriter(baseFilename, directory, 
                                      runType, runNumber, split,

64000, 1000, 300000,

byteOrder, dictionary,

bitInfo, overWriteOK, append);

The baseFilename string will have the environmental variable, BASE_NAME, substituted in the obvious location along with the runType substituted for the %s, the runNumber substituted for the %x (hex format), and the split number substituted for the %03d.  If  BASE_NAME has the value “File”, then the first 3 split files will have the names:

myFile_myExperiment_1_001.ext

myFile_myExperiment_1_002.ext

myFile_myExperiment_1_003.ext

## Reading

Start reading an evio format file or buffer with an EvioReader object. Simply pick among the various constructors for your medium of choice. There is an optional parameter allowing the user to make sure the incoming block numbers are sequential. (Find out about block numbers by reading through Appendix A which describes the evio file format). There is also an optional parameter for choosing between sequential and random-access methods for reading a file.

Looking "under the hood" for a moment, the preferred, random-access (and default) method of reading a file is to use a memory-mapped ByteBuffer to be able to address each byte. It is much faster than using streams to read a file sequentially. However, using a memory-mapped file is not always possible. There is a fundamental limitation built into the Java JVM which only allows indexes of arrays to be ints (and not longs). Since ints are signed 32 bit entities, and since a ByteBuffer object is backed by an array in which each byte is addressable, the result is that only files less than or equal to 231 - 1 (2.147G) bytes in size can be mapped. Files larger than that are read sequentially using streams. This version of jevio is the first to be able to read and write large files. The option exists to also read smaller files in a sequential manner but that would only slow things down. One possibly confusing part of the jevio interface is that methods that are random-access in nature are implemented using sequential reads for large files. Thus, jevio allows for a random-access style of approach even when the underlying reading mechanism is sequential. To implement this, all files and buffers are initially scanned to find the positions of each event. Note that this may take significant time for large files.

On this matter of random-access vs. sequentially oriented method calls, these are the 2 independent means of retrieving events from a file/buffer. The following are the random-access methods of the EvioReader class:

getEvent(int i)

parseEvent(int i)

gotoEventNumber(int i)

and the sequential methods:

nextEvent()

parseNextEvent()

rewind()

When mixing calls of these two categories in one application, there is no need to worry about one type interfering with the other. For example, if an application does a series of parseNextEvent() calls to look at a file, then doing a parseEvent(20) method call in the middle of the series will not change the sequence of the events returned by parseNextEvent().

Now for a word on performance. As previously mentioned, do not choose to read sequentially when reading files < 2.1 GB in size. When reading larger files, it is usually faster to use the sequential methods. The reason for that is they read in whole blocks (not individual events) at a time. If the file was written with block sizes substantially greater in size than a single event (the default when using small events), then it will be faster. The random-access methods will, on the other hand, hop to the event of interest and only read in that single event.

It's easier to give an example of code used to read a file than to explain things abstractly. Various lines show how to get and use a dictionary, read events with the sequential or random-access methods, get the total number of events, and get & print data. The code below uses many of the available evio features for reading and will read the file or buffer created in the previous section.

// For READING a file or buffer 
public static void main(String args[]) { 

	String fileName  = "/home/myAccount/myData"; 
	File fileIn = new File(fileName);

ByteBuffer myBuf = null;

// Do we read from file or buffer?

boolean useFile = true;

try { 
       EvioReader evioReader; 
       if (useFile) {
           evioReader = new EvioReader(fileName); 
       } 
       else { 
           myBuf.flip(); 
           evioReader = new EvioReader(myBuf); 
       } 

       // Get any existing dictionary 
       String xmlDictString = evioReader.getDictionaryXML(); 
       EvioXMLDictionary dictionary = null; 

       if (xmlDictString == null) { 
           System.out.println("Ain't got no dictionary!"); 
       } 
       else { 
           // Create dictionary object from xml string 
           dictionary = new EvioXMLDictionary(xmlDictString); 
           System.out.println("Dictionary:\n" + dictionary.toString()); 
       } 

       // How many events in the file? 
       int evCount = evioReader.getEventCount(); 
       System.out.println("Read file, got " + evCount + " events:\n"); 

       // Use "random access" capability to look at last event (starts at 1) 
       EvioEvent ev = evioReader.parseEvent(evCount); 
       System.out.println("Last event = " + ev.toString()); 

       // Print out any data in the last event.  
       // In the writing example, the data for this event was set to 
       // be little endian so we need to read it in that way too. 
       ev.setByteOrder(ByteOrder.LITTLE_ENDIAN); 
       int[] intData = ev.getIntData(); 
       if (intData != null) { 
           for (int i=0; i < intData.length; i++) { 
               System.out.println("intData[" + i + "] = " + intData[i]); 
           } 
       } 

       // Use the dictionary 
       if (dictionary != null) { 
           String eventName = dictionary.getName(ev); 
           System.out.println("Name of last event = " + eventName); 
       } 

       // Use sequential access to events 
       while ( (ev = evioReader.parseNextEvent()) != null) { 
           System.out.println("Event = " + ev.toString()); 
       } 

       // Go back to the beginning of file/buffer for sequential methods
       evioReader.rewind();

} 
   catch (Exception e) { e.printStackTrace(); } 
}

## Searching

Most users are also interested in searching an event, a bank, a segment, or a tagsegment for various things. To this end, jevio has a couple of built in searches for ease of use. See the javadoc for the StructureFinder class for details. Custom searches can be done by creating filters conforming to the IEvioFilter interface. Simply define an accept() method to determine which structures to add to a returned list. Following is an example of code that uses both the built in search for banks  with particular tag/num values and also a simple, user-defined search for finding EvioSegment type structures with odd numbered tags.

// Take some event (not defined here)

EvioEvent event;

// Search it for banks (not segs, tagsegs) with particular tag & num values 
int tag=1, num=1;
List<BaseStructure> list = StructureFinder.getMatchingBanks( 
                                     event, tag, num); 
if (list != null) {

for (BaseStructure bs : list) { 
	    System.out.println("Evio structure named \"" +                         				      dictionary.getName(bs) +

"\" has tag=1 & num=1"); 
	}

}

// ------------------------------------------------------------------ 
// Search for banks/segs/tagsegs with a custom search criteria 
// ------------------------------------------------------------------ 

// Define a filter to select Segment structures with odd numbered tags. 
class myEvioFilter implements IEvioFilter { 
	public boolean accept(StructureType type, IEvioStructure struct){ 
   	    return (type == StructureType.SEGMENT && 
               (struct.getHeader().getTag() % 2 == 1)); 
   } 
};

// Create the defined filter
myEvioFilter filter = new myEvioFilter();

// Use the filter to search "event" 
list = StructureFinder.getMatchingStructures(event, filter); 
if (list != null) { 
	for (BaseStructure bs : list) { 
  	    System.out.println("Evio structure named " +

dictionary.getName(bs) + " is Segment with odd tag"); 
   } 
}

Note that any bank, segment, or tagsegment structure can call getMatchingStructures() directly instead of through the StructureFinder class.

## Parsing

Users have some options while parsing events. Listeners and filters may be added to an EvioReader to be used while events are being parsed. The previous section has a good example of how to create a filter. One such filter can be set for a reader object allowing the user to weed out events of no interest.

Jevio also has an IEvioListener interface that can be used to define multiple listeners that operate during parsing in a SAX-like manner. For each listener, simply define 3 methods to be run -- before an event is parsed, just after a structure in the event (bank, segment, or tagsegment) has been parsed, and after the entire event has been parsed. Following is an example of code that uses both a listener and a filter.

// Read some evio format file

EvioReader evioReader = new EvioReader(fileName);

// Get the parser which is contained in the reader
EventParser parser = evioReader.getParser();

// Define a listener to be used with an event parser
IEvioListener listener = new IEvioListener() {

// Run this method after each bank/seg/tagseg has been parsed

public void gotStructure(BaseStructure topStructure,

IEvioStructure structure) {
   	    System.out.println("Parsed structure of type " +

structure.getStructureType());
   }
	
	// Run this method before the event is parsed

public void startEventParse(BaseStructure structure) {
   		System.out.println("Starting event parse");
   }

// Run this method after the event has been parsed
	public void endEventParse(BaseStructure structure) {
		System.out.println("Ended event parse");
	}
};

// Add the listener to the parser
parser.addEvioListener(listener);

// Define a filter to select everything (not much of a filter!)
class myEvioFilter implements IEvioFilter { 
	public boolean accept(StructureType type, IEvioStructure struct){ 
   	    return true; 
   } 
};

// Create the above-defined filter

myEvioFilter filter = new myEvioFilter();

// Add the filter to the parser

parser.setEvioFilter(filter);

// Now parse some event
EvioEvent ev = evioReader.parseEvent(1);

## Transforming

Occasionally there can arise problems with the "num" parameter defined by a EvioBank header but not the header of the EvioSegment or EvioTagsegment. The StructureTransformer class can be used to transform objects between these 3 classes while taking care of the troublesome num. For example:

// Take an existing EvioSegment

EvioSegment seg;

int num = 10;

// Turn that segment into a bank

EvioBank bank = StructureTransformer.transform(seg, num);

## Dictionaries

This section describes how dictionaries can be used (refer to Appendix C for the format). In general it is easiest to have one global dictionary defined when manipulating evio data. For jevio this can be set in the singleton NameProvider class/object. To set this global dictionary simply do something like:

// Define xml dictionary String 
String xmlDictString = 
      "<xmlDict>\n" +

"  <dictEntry name=\"first bank\"   tag=\"1\"  num=\"1\"/>\n" + 
      "  <dictEntry name=\"second bank\"  tag=\"2\"  num=\"2\"/>\n" + 
      "</xmlDict>";

// Create a dictionary object from xml String

EvioXmlDictionary dict = new EvioXmlDictionary(xmlDictString);

// Make it the global dictionary

NameProvider.setProvider(dict);

Once the global dictionary is set, the question is, "how is it used"? The section in this chapter for "Searching" uses the StructureFinder class and that is the case here as well. This class uses the global dictionary if defined, but another dictionary may be specified as an argument to its methods. There three methods in this class that use the dictionary as seen below:

// Take some event (not defined here)

EvioEvent event;

// Names to look for

String name       = "dictionaryEntry";

String childName  = "childEntry";

String parentName = "parentEntry";

// Search for structures (banks, segs, tagsegs) with a particular name 
List<BaseStructure> list1 = StructureFinder.getMatchingStructures( 
                                     event, name, dict);

// Search for structures whose parent has a particular name 
List<BaseStructure> list2 = StructureFinder.getMatchingParent( 
                                     event, parentName, dict);

// Search for structures who have a child with a particular name 
List<BaseStructure> list3 = StructureFinder.getMatchingChild( 
                                     event, childName, dict);

// Print out the list of structures

if (list2 != null) {

for (BaseStructure bs : list2) { 
	    System.out.println("Structure named \"" + dictionary.getName(bs) +

"\" has a parent named " + parentName); 
	}

}

In order to implement other types of searches, it would be relatively simple to copy the code for any of the three methods and modify it to suit.

When a file or buffer is read, it may have a dictionary in xml format associated with it. That dictionary is accessible through the EvioReader.getDictionaryXML() method. For convenience, the EvioEvent class has a place to store and retrieve an xml dictionary string by using its setDictionaryXML(), getDictionaryXML(), and hasDictionaryXML() methods.

The dictionary can also be used directly as an object of the EvioXmlDictionary class. Once an xml string is parsed into such an object (by means if its constructor), there are methods to retrieve the parsed information. These methods can obtain tag/num pairs associated with a name and vice versa. They can also obtain data types, data formats, and descriptive comments associated with either a name or tag/num pair.

// Define xml dictionary String 
String xmlDictString = 
 "<xmlDict>\n" +

" <dictEntry name=\"me\" tag=\"10\" num=\"0\" type=\"composite\" />\n" +

"   <description format=\"2iN(FD)\" >\n" +

"		Any comments can go right here!" +

"   </description>\n" +
 "  </dictEntry>\n" + 
 "</xmlDict>";

// Create a dictionary object from xml String

EvioXmlDictionary dict = new EvioXmlDictionary(xmlDictString);

// Retrieve & print info from dictionary

System.out.println("Getting stuff for name = \"me\":"); 
System.out.println("    tag         = " + dict.getTag("me")); 
System.out.println("    num         = " + dict.getNum("me")); 
System.out.println("    type        = " + dict.getType("me")); 
System.out.println("    format      = " + dict.getFormat("me")); 
System.out.println("    description = " + dict.getDescription("me")); 

System.out.println("Getting stuff for tag = 10, num = 0:"); 
System.out.println("    type        = " + dict.getType(10,0)); 
System.out.println("    name        = " + dict.getName(10,0)); 
System.out.println("    format      = " + dict.getFormat(10,0)); 
System.out.println("    description = " + dict.getDescription(10,0));

Compact Jevio

Section

9

When communicating EvioEvents (java objects) over the network, the user must serialize such events into an array or buffer of bytes when sending and must deserialize the same bytes into objects on the receiving end. This can lead to a serious performance penalty. To avoid having to serialize and deserialize continually, a new API was developed to allow the handling of evio data in byte buffer form. For lack of a better term, compact was the word chosen to describe it since all evio data handled in this API are contained in ByteBuffer objects and never expanded into EvioEvent objects.

## Basics

There are 4 classes comprising all the functionality: EvioCompactReader, EvioCompactStructureHandler, EvioCompactEventWriter, and finally EvioNode. Starting with the simplest, the EvioNode class stores information about a single evio structure (bank, segment, or tagsegment), but does not contain information about its internal structure. In other words, there is no expansion into a tree and its necessarily accompanying deserialization. It stores all the header information along with locations of the header and data in the buffer itself.

The EvioCompactReader (compact reader for short) plays a similar role as the EvioReader in that it parses a buffer or file (not bigger than 2.1 GB) in evio format. Its constructor creates an EvioNode object for each event and stores it in a list. Methods allow searching an event for structures of a given tag & num pair or dictionary entry. Once an EvioNode object is obtained from a search, its structure's data can be retrieved. User-created evio structures can be added to the end of any event. Perhaps the most powerful feature of the compact reader is that the user can obtain a ByteBuffer representing just a single structure - an event, bank, segment, or tagsegment (no block headers / no full evio file format). This allows for the extraction of bytes representing a single structure to be sent over the network. In this way it almost acts as a writer as well as being a reader.

Working hand-in-hand with the compact reader, the EvioCompactStructureHandler (structure handler for short) can parse the bytes representing a single structure previously produced by the compact reader. Actually any EvioEvent, EvioBank, EvioSegment, or EvioTagSegment object can produce a byte representation of itself by calling its write() method which the structure handler can parse. The structure handler has methods to search for structures of a given tag & num pair or dictionary entry. Once an EvioNode object is obtained from a search, its structure's data can be retrieved. User-created evio structures can be added to the end of any structure (which contains structures, cannot add bank to bank of ints for example). As in the compact reader, the user can obtain a ByteBuffer representing just a single structure.

Finally, there is the EvioCompactEventWriter or event writer for short. Its sole purpose in life is to collect byte representations of events and write them into an evio version 4 format file or buffer. Some constructors have arguments needed to create a file with a generated name and can split the file into many if desired (just like the CODA event builder). The size of an internal buffer is specified into which events are stored with the writeEvent() method. When the internal buffer is full, it writes to the specified file. Of course, when writing to a buffer no additional internal buffer is used. The close() method finishes things up.

A simple measurement shows that using compact classes to search a file for structures of a given tag/num pair is about 9x faster than using EvioReader.

At this point perhaps some examples would help to clear up any difficulties in understanding the use of this API. Not all features are demonstrated.

## Example 1

// ---------------------------------------------------

// Read file, search for tag/num, print data, add bank

// ---------------------------------------------------
public static void main(String args[]) {  

  try { 
    // Read file /tmp/myFile with compact reader

EvioCompactReader reader = new EvioCompactReader("/tmp/myFile");

// -----------------------------------------------

// Search for structure and print its data

// -----------------------------------------------

// Search first event for tag = 3, num = 4 
    List<EvioNode> returnList = reader.searchEvent(1, 3, 4); 
    if (returnList.size() < 1) { 
      throw new Exception("Found nothing in search"); 
    }

// First structure found in event 1 with tag = 3, num = 4

EvioNode node = returnList.get(0);

// Get data in structure 
    ByteBuffer buf = reader.getData(node);

// Type of data in structure 
    DataType dType = node.getDataTypeObj(); 
    // Print data in structure
    if (dType == DataType.DOUBLE64) { 
      System.out.println("Double data ="); 
      DoubleBuffer dbuf = buf.asDoubleBuffer(); 
      for (int i=0; i < dbuf.limit(); i++) { 
        System.out.println(i + "   " + dbuf.get(i)); 
      } 
    }

// -----------------------------------------------

// Add user bank to first event

// -----------------------------------------------

// Create a bank to add to end of event, tag = 5, num = 6

EvioBank bank = new EvioBank(5, DataType.INT32, 6); 
    int[] intData = new int[] {1,2,3}; 
    try { 
      bank.appendIntData(intData); 
    } 
    catch (EvioException e) {} 

    ByteBuffer bb = ByteBuffer.allocate(4*12); 
    bank.write(bb); 
    bb.flip();

// Add bank to event 1
    reader.addStructure(1, bb);
  } 
  catch (EvioException e) { 
    e.printStackTrace();
  } 
}

## Example 2

// ---------------------------------------------------

// Read file, select events and obtain their buffers.

// Collect the buffers and write them to another file.

// ---------------------------------------------------
public static void main(String args[]) {  

  try { 
    // Read file /tmp/myFile with compact reader

EvioCompactReader reader = new EvioCompactReader("/tmp/myFile");

// Number of events in file

int evCount = reader.getEventCount();

// Create writer to file /home/user/outputFile

int runNumber = 1, split = 0, internalBufSize = 1000000;

String dictionary = null;

EvioCompactEventWriter compactWriter = 
        new EvioCompactEventWriter("outputFile", "/home/user",

runNumber, split, internalBufSize, 
                                   ByteOrder.BIG_ENDIAN, dictionary);

// Loop over all events
    for (int i=0; i < evCount; i++) {

// Read event #i from input file

ByteBuffer evBuf = reader.getEventBuffer(i);

// Write event to output file 
      compactWriter.writeEvent(evBuf);

}

// Flush internal buffer to file & close

compactWriter.close();

} 
  catch (EvioException e) { 
    e.printStackTrace();
  } 
}

Jevio Event-Viewing Gui

Section

10

There is a graphical user interface for looking at EVIO format files event-by-event, although it can also look at any file as a list of 32 bit integers. To run it simply type:

java org/jlab/coda/jevio/gui/EventTreeFrame

Make sure this class in is your CLASSPATH environmental variable. It also has the capabililty of grabbing ET events and cMsg messages and parsing them as evio data. For that to function, the ET and cMsg jar files must be in the CLASSPATH as well. The following is a screen shot of the gui.

Figure 10.1: Event-viewing gui

Starting with the middle of the gui first, the left side shows a tree structure diagram of the whole, single evio event being viewed. Notice that the type of each evio structure is given (bank, segment, tagsegment), along with the type of data it contains, tag, num, size, and # of children. Tag and num are shown in decimal and hex. If a dictionary is being used, the dictionary name is displayed instead of the corresponding structure type, data type, tag, and num values.

The right side, on the other hand, shows the data of any selected bank, segment, or tagsegment that contains a primitive data type. The number of columns can be set in the “View” menu. Integers can be displayed in hex or decimal.

If the event is changed while viewing the data of a structure, and if the new event has a structure with the same hierarchy of tags that the previous selection had, it too is automatically selected. This facilitates comparing the same structure in each successive event by simply hitting the “next” event button.

A dictionary can be loaded from a separate xml format file, or it can come embedded in an evio format file or buffer (cMsg, ET). The viewer allows the user to switch, in the “Dict” menu, between the different dictionaries if more than one is available. Any dictionary being used can be displayed instead of the data.

Selecting an ET system or a cMsg server as an event source, in the “Event” menu, brings up other menus to allow the proper connections to be created and maintained. The only assumptions made are that in a cMsg message, the evio data is contained in the byteArray field. Any dictionary is first looked for in the evio data and if none is found, it is looked for in a String payload item called “dictionary”.

The box in the upper left (under the row of menu buttons), “Event #”, shows the event currently selected (in this case 25) and allows the user to navigate to the desired event.

The box to its right, “Event Q”, shows different things depending on if the data source is a file, cMsg messages, or ET events. For files it shows the total number of events (in this case 10,000). For cMsg messages and ET events, “Size” shows the number of events being kept in an internal queue. “Limit” allows the user to set the size of this internal queue, while “Clear” will remove all events currently in the queue. Once this queue is full, nothing else is added. The “Event #” controls can be used to switch between events in the queue.

Switching between the different event sources can be done in the “Event” menu item. When selecting a cMsg or ET source, the “Filter” menu is enabled. With this menu, the user can choose to look at control, partially-built physics, physics events, or any combination as well as the selecting the run type of interest.

Notice that above the data, there are boxes containing the event and dictionary sources. Beneath the data are boxes containing information about the selected data structure.

In addtion to looking at evio events, this viewer is useful when debugging evio-related applications by looking at files directly. The data in a file are viewed as 32-bit integers in hex. This can be done with the “File” menu item selecting the “View File Bytes” option and producing the following window:

Figure 10.2: General file viewing window

Endianness of the data can be switched using the “File” menu and comments can be added by hand.

A.    Evio File Format

Appendix

A

There has been a change in the format used to store evio data in files (and in this version, buffers and over TCP sockets as well). Following are descriptions of both the old format and the new.

## A.1   Old Format, Evio Versions 1-3

Each file is divided into equal size blocks with each block having a header of 8, 32-bit integers or words. The fixed sized block was used as a means to recover data in case of tape storage problems. Following is a diagram of the header:

OLD BLOCK HEADER

MSB(31)                          LSB(0) 
<--------------- 32 bits ------------->

Block Length

Block Number

Header Length

Start

End

Version

Reserved 1

Magic Number

- The block length is number of 32 bit words in the block (including itself). Although it is adjustable, this was generally fixed for versions 1-3 at 8192 (32768 bytes).

- The block number is an id # used by the event writer.

- The header length is the number of 32 bit words in this header. In theory this too is adjustable but in practice was always 8.

- The start is the offset in words to the first event header in block relative to the start of the block.

- The end is the number of valid words (header + data) in the block. This is equal to the block size unless it is the last block in which case it may be less.

- The version is the current evio format version number (1,2, or 3).

- The reserved 1 is unused.

- Finally, the magic number is the value 0xc0da0100 and is used to check endianness.

Following the header is the data. Often events ended up being split across one or more blocks. The start header word was used to find the beginning of the next event's header inside the block.

## A.2   New Format, Evio Version 4

Each file is still divided into blocks with each block having a header. In the new format, to simplify things, each block contains an integral number of events which in turn means that the size of each block is not fixed. Following is a diagram of the new header:

NEW BLOCK HEADER

MSB(31)                          LSB(0) 
<--------------- 32 bits ------------->

Block Length

Block Number

Header Length

Event Count

Reserved 1

Bit info ¦ Version

Reserved 2

Magic Number

- The block length is number of 32 bit words in the block (including itself). In general, this will vary from block to block.

- The block number is an id # used by the event writer.

- The header length is the number of 32 bit words in this header - set to 8 by default. This can be made larger but not smaller. Even though, theoretically, it can be changed, there are no means to do this or take advantage of the extra memory through the C, C++ or Java evio libraries.

- The event count is the number of events in this block - always integral. Note that: this value should not be used to parse the following events since the very first block may have a dictionary whose  presence is not included in this count.

- The Reserved 1 & 2 are unused.

- And the magic number is the value 0xc0da0100 and is used to check endianness.

- That leaves only the bit info and version word for discussion. The version is the current evio format version number (4) and takes up the lowest 8 bits. The other bits are used to store the various useful data listed below:

BIT INFO WORD

| Bit # (0 = LSB) | Function |
| --- | --- |
| 0-7 | Version # = 4 |
| 8 | = 1 if dictionary is included (first block only) |
| 9 | = 1 if this block is the last block in file, buffer, or network transmission |
| 13-10 | type of events in block: ROC Raw = 0 Physics = 1 Partial Physics = 2, Disentangled Physics = 3, User = 4, Control = 5, Prestart = 6, Go = 7, Pause = 8, End = 9 Other = 15 |
| 31-14 | unused |

What isn't so clear yet is how events are divided into blocks. In java, some of the constructors for the EventWriter class have arguments specifying

EVIO Data Format

Appendix

B

## B.1	Bank Structures & Content

EVIO data is composed of a hierarchy of banks of different types.  Container banks contain other banks, and leaf banks contain an array of a single primitive data type.  Three types of banks exist:  BANK, SEGMENT, and TAGSEGMENT.  BANK has a two-word header, the latter two have a one-word header.  All banks contain a length, tag and type.  BANK additionally has a num field.  SEGMENT and TAGSEGMENT differ on the number of bits allocated to the tag and type.  Tag and num are user-defined while type denotes the bank contents and the codes listed in the table below MUST be used or endian swapping will fail. Length is always the number of 32-bit longwords to follow (i.e. bank length minus one).  New to this version of EVIO is the pad for both BANK and SEGMENT banks which indicates the number of bytes used for padding when type indicates 8 or 16 bit integers.

BANK HEADER

MSB                                        32 bits                                      LSB

length

tag ¦ pad ¦ type ¦ num

Bits:                          16                            2           6                    8

SEGMENT HEADER

tag ¦ pad ¦ type ¦ length

Bits:              8                 2           6                                16

TAGSEGMENT HEADER

tag ¦ type ¦ length

Bits:                     12                       4                              16

CONTENT TYPES

| contentType | Primitive Data Type |
| --- | --- |
| 0x0 | 32-bit unknown (not swapped) |
| 0x1 | 32 bit unsigned int |
| 0x2 | 32-bit float |
| 0x3 | 8-bit char* |
| 0x4 | 16-bit signed short |
| 0x5 | 16-bit unsigned short |
| 0x6 | 8-bit signed char |
| 0x7 | 8-bit unsigned char |
| 0x8 | 64-bit double |
| 0x9 | 64-bit signed int |
| 0xa | 64-bit unsigned int |
| 0xb | 32-bit signed int |
| 0xc | TAGSEGMENT |
| 0xd | SEGMENT |
| 0xe | BANK |
| 0xf | COMPOSITE |
| 0x10 | BANK |
| 0x20 | SEGMENT |
| 0x21 | Hollerit* |
| 0x22 | N value* |

*this type is only used internally for composite data

There are a few more things that the user must keep in mind:

- bank contents immediately follow the bank header

- the first bank in a buffer or event must be a BANK

- the CODA DAQ system defines specific conventions for tag and num values.

## B.2	Changes From Previous Versions

There are a few changes from previous EVIO versions to take note of. A backwards-compatible change has been made for strings (type 0x3). Previously, a single ASCII, null-terminated string with undefined padding was contained in this type. Starting with version 4, an array of strings may be contained. Each string is separated by a null-termination (value of 0). A final termination of at least one 4 (ASCII char of value 4)  is required in order to differentiate it from the earlier versions and to signify an end to the array. It is a self-padded type meaning it always ends on the 32 bit boundary.

Another change is that the type of 0x40, which was redundantly defined to be a TAGSEGMENT, has been removed since its value uses bits necessary to store the padding. This is unlikely to cause any problems since it was never used.

The pad in the BANK and SEGMENT types indicates the number of bytes used for padding to 32 bit boundaries when type indicates 8 or 16 bit integers (type = 0x4, 0x5, 0x6, or 0x7). For 16 bit types pad will be 0 or 2 while for the 8 bit types it will be 0-3. Unlike previous versions, this allows EVIO to contain odd numbers of these types with no ambiguity. For example, since a bank of 3 shorts is the same length as a bank of 4 shorts (banks must end on a 32 bit boundary) previously there was no way to tell if the last short was valid data or not. Now there is. Note, however, this is not the case with the TAGSEGMENT bank and so it is not recommended for storing these types.

## B.3	Composite Data Type

A new type - COMPOSITE - has been added which originated with Hall B but also allows for future expansion if there is a need. Basically the user specifies a custom format by means of a string. Although in practice it acts like a primitive type in that you can have a bank containing an array of them, a single COMPOSITE type looks more like 2 banks glued together. The first word comprises a TAGSEGMENT header which is followed by a string describing the data to come. After this TAGSEGMENT containing the data format string, is a BANK containing the actual data.

COMPOSITE TYPE

tag ¦ type ¦ length

data format string ...

length

tag ¦ pad ¦ type ¦ num

actual data ...

The routine to swap this data must be provided by the definer of the composite type - in this case Hall B. This swapping function is plugged into the EVIO library's swapping routine. Currently its types, tags, pad, and num values are not used. Only the lengths are significant.

There is actually another new type defined -  the Hollerit type, but that is only used inside of the COMPOSITE type and refers to characters in an integer form. Following is a table of characters allowed in the data format string.

DATA FORMAT CHARACTERS

| Data format char | Meaning |
| --- | --- |
| ( | ( |
| ) | ) |
| i | 32-bit unsigned int |
| F | 32-bit floating point |
| a | 8-bit ASCII char |
| S | 16-bit short |
| s | 16-bit unsigned short |
| C | 8-bit char |
| c | 8-bit unsigned char |
| D | 64-bit double |
| L | 64-bit int |
| l | 64-bit unsigned int |
| I | 32-bit int |
| A | Hollerit |
| N | Multiplier in 32-bit int |

In the format string, each of the allowed characters (except ")" or "N" ) may be preceded by an integer which is a multiplier. Items are separated by commas. Instead of trying to explain the format abstractly, let's look at the following example:

i,L,2(s,2D,NF)

This format translates into the data being read and processed in the following order: a single 32-bit unsigned int, a single 64-bit int, a multiplier of 2 (32 bit int) of everything inside the parantheses, an unsigned short, 2 doubles, a multiplier, multiplier number of 32-bit floats, an unsigned short, 2 doubles, a multiplier, multiplier number of 32-bit floats. The data is read in according to this recipe.

There are a couple of data processing rules that are very important:

- If the format ends but the end of the data is not reached, the format in the last parenthesis will be repeated until all data is processed. If there are no parentheses in the format, data processing will start again from the beginning of the format until all data is processed.

- The explicitly given multiplier  must be a number between 2 and 15 - inclusive. If the number of repeats is the symbol 'N' instead of a number, that multiplier will be read from data assuming 'I' format and may be any positive integer.

The COMPOSITE data type allows compact storage of different primitive data types and eliminates the need for extra banks and their accompanying headers. It does, however, pay a penalty in the amount of computing power needed to read, write, and swap it. For example, each time a COMPOSITE bank needs to be swapped, EVIO must read the format string, process it, and convert it into an array of ints. Then, with the converted format as a guide, EVIO must read through the data item-by-item, swapping each one. It is quite compute intensive.

Appendix

C

# EVIO Dictionary Format

Since names are easier for humans to deal with than pairs of numbers, the basic idea behind the dictionary is to associate a single string, a name, with 2 integers, an evio tag and an evio num. The xml protocol was used to accomplish this. The following gives the different xml formats used by the different versions of evio.

## C.1	Evio versions 2 & 3

The xml format has been evolving. Originally, because EVIO data is stored in a hierarchical manner with banks containing banks containing data, the dictionary format was also hierarchical. In other words, a string was associated with not only the 2 numbers but a place in the hierarchy as well. The idea was that a given pair of tag/num values could occur in more than one location in the hierarchy and must be distinguishable from each other. Following is an example of the first format used:

<xmlDict>

<xmldumpDictEntry name="event_1"         tag="1"       num="1"/>

<!-- DC -->

<xmldumpDictEntry name="DC"              tag="500"     num="0"/>

<xmldumpDictEntry name="DC_id"           tag="500.1"   num="0.0"/>

<xmldumpDictEntry name="DC_output"       tag="500.2"   num="0.100"/>

<xmldumpDictEntry name="sector5"         tag="500.2.5" num="0.100.23"/>

</xmlDict>

There is only one possible element - xmldumpDictEntry. Notice the dotted notation of the tag & num attributes. This notation, for example the tag 500.2.5, simply means that this dictionary entry has a tag value of 5, its parent has a tag value of 2, and its grandparent has a tag value of 500. Basically it is a way of specifying a place in the evio tree or hierarchy.

## C.1.1	Jevio problems

The jevio-1.0 software package did not allow dotted notation for the tag, but did allow it for the num. The rules that jevio uses to determine whether a bank, event, segment, or tagsegment object matches a particular dictionary entry is:

- if it is an EvioSegment or EvioTagSegment object, the first entry that matches its tag value is returned

- if it is an EvioEvent object, the first entry that matches its tag value and the first level num value is returned

- if it is an EvioBank object, the first entry that matches its tag value and the complete hierarchy of num values is returned

Although this works after a fashion, it unfortunately does not match tag values in a hierarchical manner.

## C.1.2	C++ Evio problems

The C++ library's handling of the dictionary's tags & nums is not perfect either. The difficulty arises from the fact that when creating an evio tree of banks, segments, and tagsegments, C++ evio does not distinguish between them. Each container is simply a node that may be added, removed, cut, and pasted anywhere in the tree. Only upon serializing the tree to a file does the fact that a node is one of the 3 types come into play. In order for this model to function, all segments and tagsegments are essentially treated as banks with num = 0. Thus a dictionary entry with tag = 1 & num = 0 will match both a bank with those parameters and a segment with tag = 1 but no num. Worse yet, a node can set num = 1, be written out as a segment, and then be read back in with num = 0. This limitation must be taken into consideration when creating dictionaries & evio trees.

## C.2	Evio version 4

A number changes to the previous evio dictionary format have been made. Let's start with what has been eliminated. Previously the num and tag values could be hierarchical with each level separated by a period such as:

tag = '1.2.3'   num = '2.5'

These types of values for tag and num were stored in the dictionary making the matching of a bank to a dictionary entry tricky since now the parents and children of the bank became involved. Not only was the matching complicated but a dictionary entry would have to change depending on where a particular bank was moved to in an evio event tree - very inconvenient and prone to error.

The first change eliminates these hierarchical tags & nums. Each dictionary entry is a single name associated with a single tag value and a single num value (with segments and tagsegments given a num value of 0). It becomes a simple matter to build hierarchies into the name as will be demonstrated below.

The C/C++ dictionary and the Java dictionary now have identical formats. In the old xml format, there was only one entry type namely, the xml element of xmldumpDictEntry. There are now 3 types of XML dictionary elements:  dictEntry (replaces xmldumpDictEntry which is too long), bank and leaf.

For each of these elements, the only attributes a dictionary parser will look at are name, tag, num, and the newly added type (of contained data). All other elements and attributes are ignored, so the XML can be used to define whatever else is desired. Note that only the following case-independent values are valid for type with all other values being ignored:

int32, unint32, long64, ulong64, short16, ushort16, char8, uchar8, charstar8, float32, double64, bank, segment, tagsegment, composite, unknown32

The simplest xml element is dictEntry, it just makes an entry into the map of names vs tag/num pairs:

<dictEntry name="fred"  tag="1" num="1" />

Here the name "fred" is a synonym for the tag/num pair (1,1).

The elements "bank" and "leaf" are used for describing hierarchical bank structures. Take a look at the following:

<bank name="CLAS12" tag="1" num="0">

<bank name="DC" tag="20" num="0">

<leaf name="xpos" tag="20" num="1"/>

<leaf name="ypos" tag="20" num="2"/>

<leaf name="zpos" tag="20" num="3"/>

</bank>

<bank name="SC" tag="30" num="0">

<leaf name="xpos" tag="30" num="1"/>

<leaf name="ypos" tag="30" num="2"/>

<leaf name="zpos" tag="30" num="3"/>

</bank>

</bank>

where "bank" means an evio container (bank, segment, or tagsegment), and "leaf" means an evio container with no children.  The parser will generate map entries equivalent to the following:

<dictEntry name="CLAS12"          tag="1"  num="0"/>

<dictEntry name="CLAS12.DC"       tag="20" num="0"/>

<dictEntry name="CLAS12.DC.xpos"  tag="20" num="1"/>

<dictEntry name="CLAS12.DC.ypos"  tag="20" num="2"/>

<dictEntry name="CLAS12.DC.zpos"  tag="20" num="3"/>

<dictEntry name="CLAS12.SC"       tag="30" num="0"/>

<dictEntry name="CLAS12.SC.xpos"  tag="30" num="1"/>

<dictEntry name="CLAS12.SC.ypos"  tag="30" num="2"/>

<dictEntry name="CLAS12.SC.zpos"  tag="30" num="3"/>

This scheme works well if all tag/num pairs are unique. That way there is a unique string associated with each tag/num pair. If multiple names are linked with the same pair, then searching for a particular name may not return the appropriate values, and searching for a tag/num pair may not return the appropriate name. Likewise, if a single name is linked with multiple pairs, the same confusion can result. In order to avoid these problems, both the C++ and Java implementations of the dictionary only allow unique mappings.

In addition to the tag, num, and name attributes, the dictionary can also hold the type information about the contents of an evio container (unknown types are ignored). For example the following associates "fred" with 32 bit signed integers:

<dictEntry name="fred"  tag="1" num="1" type="int32" />

The new composite type of data requires even more information about the format of the data inside. To accommodate this, all dictionary entries may now have a description xml subelement defined. These descriptions may have the format attribute defined as well:

<xmlDict> 
	<dictEntry name='myName' tag='123' num ='456' type='composite' > 
		<description format='F,D,Ni' > 
          	F  TDC
                 D  ADC min=5.0 max=10.0
                 N  multiplier

i  scaler bits0-15=counter1 bits15-32=counter2

</description> 
     </dictEntry>

</xmlDict>

The description and format can be anything meaningful to the user. Hall D will use a set format for both entries when using composite type data so they can be parsed and additional information extracted from it. This is done to allow flexibility to the user but not in a way that would be a constantly changing specification for evio.

## C.2.1	Behaviors

There are a few other issues that need to be addressed. The use of the "leaf" element is optional and may be replaced by "bank". However, if "leaf" is used, it may not have any children. Even though XML is case-sensitive, in the parsing of the dictionary, all the accepted elements' and attributes' cases are ignored.

The rules that jevio now uses to determine whether a bank, event, segment, or tagsegment object matches a particular dictionary entry is:

- if it is an EvioEvent, EvioBank, EvioSegment or EvioTagSegment (any kind of container) object, the first and only entry that matches its "tag" value and its "num" value is returned

- if it is an EvioSegment or EvioTagSegment object, its num value is assumed to be 0 (zero) for purposes of matching

The xml representation of a dictionary can be embedded in a larger xml document. Giving this larger document as the dictionary to be parsed is perfectly acceptable and the code will pick out the dictionary portion. If multiple dictionaries are included, only the first is used and the rest are ignored.

Furthermore, irrelevant xml elements and attributes may be present and are simply ignored. When the jevio toXml() method of a dictionary is called, only the dictionary portion of the original, full xml document is returned as a String.

## C.2.2	Differences between C++ and Java

There still are a couple differences between Java and C++. The first is if a "leaf" entry has any children, jevio will print a warning and ignore any such children while evio will throw an exception. Similarly, if there are duplicate entries - either names or tag/num pairs - an exception is thrown in C++ but in Java they are ignored (including any of their children) and a warning is printed. These differences are allowed for backwards compatibility purposes in jevio. Be aware that in jevio all the dictEntry elements are processed before the bank and node elements. So if there are duplicate entries, any dictEntry elements are given preference over the bank or leaf.

Appendix

D

# EVIO Function Objects

A number of useful adaptable function objects for applying STL algorithms to the lists returned by getNodeList() are provided.  Adaptable means they can be used with STL function object adaptors (see the STL documentation).  Their constructors are:

operator() returns bool:

typeIs<T>(void)

typeEquals(int aType)

tagEquals(unsigned short aTag)

numEquals(unsigned char aNum)

tagNumEquals(unsigned short aTag, unsigned char aNum)

parentTypeEquals(int aType)

parentTagEquals(unsigned short aTag)

parentNumEquals(unsigned char aNum)

parentTagNumEquals(unsigned short aTag, unsigned char aNum)

isContainer(void)

isLeaf(void)

operator() returns void:

toCout(void)

Appendix

E

# Revision History

| Version | Date | Comment |
| --- | --- | --- |
| 1.0 | Early 1990’s | Original C version |
| 2.0pre-beta | Mid-2002 | XML utilities, bug fixes, I/O enhancements, etc. |
| 2.0beta | Oct 2005 | C++ API, stream and DOM parsing and trees, etc. |
| 2.0 | Jan 2007 | Full tree manipulation API implemented |
| 4.0 | Aug 2012 | Random access, append mode, new file format |
| 4.1 | Nov 2012 | Read and write files > 2.1 GB |